**Post-Storm Inspection Form Stormwater Harvesting and Use Systems** (Example) **Date of Inspection: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**System \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Installer Contact \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Date of Rainfall \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Total Precipitation (inches) \_\_\_\_\_\_\_\_\_\_\_\_\_**

**Significant factors:** (wind, hail, previous precip, etc.) \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |  |  |  |
| --- | --- | --- | --- |
| **Catchment Area** | **Inspection** | **Initial** | **Follow-up Action Required?** |
| When  | What |
| *Rooftops* | *As needed* |  *Remove large debris, inspect for damage* |   | Yes / No |
| *Pavement Areas* | *As needed* |  |   | Yes / No |
| **Harvest System** |
| *Gutters and downspouts* | *As needed* |  |   | Yes / No |
| *Debris screens* | *As needed* |  *Remove debris if blocked/clogged* |   | Yes / No |
| *First flush device* | *As needed* |  |   | Yes / No |
| *Bypass system* | *Design storm or larger* | *Bypass active or evidence of active bypass (Yes / No)**Evidence of scour/erosion:* |   | Yes / No |
| *Overflow system* | *Design storm or larger* | *Bypass active or evidence of active overflow (Yes / No)**Evidence of scour/erosion:* |   | Yes / No |
| *Tank water level* | *Design storm or larger* | *Confirm normal operation* |   | Yes / No |
| *Pump* | *Design storm or larger* | *Confirm normal operation* |   | Yes / No |

|  |  |  |
| --- | --- | --- |
| **Inspection Follow-up Items** | **Notifications Required**(Installer, City, etc.) | **Action Completed** |
| **Component** | **Action Required** | **By (Initials)** | **Date** |
|   |   |   |   |   |
|   |   |   |   |   |
|   |   |   |   |   |
|   |   |   |   |   |