Outfall Id: OF08-07 Outfall Inspection / Inventory Data Sheet

# Inventory Data

**Reference Point Number:**   **Location Method:** gps **Year Built:**

**Location** (North): 205505.164 (East) 558210.428 (Elevation) 946.571

**Location Precision** (horiz) 0.3 (Vertical) 0.3 (Elevation Desc) invert

**Address:** 1411 Hwy 96

**Pipe Size:** 15” **Width:** **Shape:** Arch **Material:** Concrete

**Inspection Data**

**Inspection Date:** 8/6/13 **Inspected By:** JMH **Precip** 0.0 **Temp**

**General Condition (Excellent, Good, Fair, Poor):**  good

**Damage:**  50% clogged

**Repairs Recommended:** clean mud and sand

**Notes:**  standing water

**Illicit Discharge Indications**

**Volume: none Odor: none Color: none**

**Photo:**