What should I document under the MS4 Permit?

The purpose of this document is to provide guidance on how to comply with the documentation requirements outlined in the Minnesota Pollution Control Agency’s (MPCA) Authorization to Discharge Stormwater Associated with Small Municipal Separate Storm Sewer Systems (MS4s) under the National Pollutant Discharge Elimination System/State Disposal System (NPDES/SDS) Permit Program MNR040000 ([MS4 Permit](https://www.pca.state.mn.us/sites/default/files/wq-strm4-59k.pdf)). The MS4 Permit requires owners and operators of small MS4s to develop, implement, and enforce a stormwater pollution prevention program (SWPPP). The SWPPP has many components that the permittee must document. For all documentation requirements, you, the permittee, must retain the records for three years beyond the term of the current permit (Permit Part IV C.).

Permit requirement What I need to document for:

Enforcement actions

Enforcement actions are used to compel compliance with regulatory mechanisms. Each enforcement action you conduct, including verbal warnings, related to illicit discharges, active construction, and post construction must be documented (Permit Part III B.2.).

Public education and outreach

Your public education and outreach program should demonstrate how the public (residents, businesses, institutions, etc.) can reduce their impacts to stormwater. As part of the education and outreach program, you must distribute materials, or conduct equivalent outreach, to the public on how to identify and report illicit discharges (Permit Part III D.1.).

Public participation/Involvement

Engaging the public and getting the public to actively contribute to your SWPPP instills the idea that everyone has a role to play in proper stormwater management. You must provide at least one yearly public involvement opportunity that allows the public to provide input on your SWPPP. In addition, you must allow the public access to the SWPPP document, annual reports, and
other information relating to the SWPPP (Permit Part III D.2.).

Illicit discharge detection & elimination

Illicit discharges, or discharges of non-stormwater to the storm sewer system, negatively impact the quality of stormwater. You are required to develop, implement, and enforce an illicit discharge detection and elimination (IDDE) program to prevent and identify illicit discharges (Permit Part III D.3).

Construction site inspections

Site inspections play a crucial role in ensuring construction activities are employing best management practices (BMPs) to prevent sediment and other pollutants from leaving construction sites. You must have a document, whether a checklist or other written method, used to determine compliance with your
construction site stormwater runoff control regulatory mechanism (Permit Part III D.4.d.).

Construction site plan reviews

Site plans are required to be submitted to you for construction projects that disturb one acre or more of land. Your SWPPP must include site plan review procedures you use to determine if proposed construction activity and post-construction management practices are in compliance with your regulatory mechanisms (Permit Parts III.D.4.b. & III.D.5.b.). Site plans must include descriptions of site conditions during construction and post-construction management of stormwater volume, total suspended solids (TSS), and total phosphorus (TP) (Permit Parts III. D.4.a. & D.5.a.(2)).

Mitigation projects

If post-construction requirements for TSS and TP in stormwater discharged from the site can’t be met (i.e. no net increase in TSS and TP for new development and a net reduction from pre-construction conditions for redevelopment), you may approve mitigation projects (Permit Part III.D.5.a.(4)).

Long-term maintenance of structural stormwater BMPs

If a privately-owned structural stormwater BMP is installed as part of construction activity, you must have a legal agreement with the owner(s). The legal agreement will:

* Allow you to conduct inspections and perform maintenance
* Transfer with property ownership
* Require the BMP to maintain proper function (Permit Part III.D.5.a.(5))

Municipally owned/Operated BMPs

Inspecting and maintaining BMPs that are used in municipal operations is important to reducing your impacts to stormwater. Inspections must be:

* Annually, or biennially if maintenance isn’t needed for two consecutive years, for structural stormwater BMPs
* At least once during the permit term for ponds and outfalls
* Quarterly for stockpiles and storage and material handling areas (Permit Part III.D.6.e.)

IDDE inspections must be incorporated into these inspections. See IDDE Section on this document for more information.

Employee training

As part of the SWPPP, you must train employees who may encounter stormwater related issues, including those who conduct IDDE and construction site inspections, review site plans, respond to illicit discharge complaints, etc. The training program must:

* Address the importance of protecting water quality
* Describe permit requirements related to the employee’s job
* Have a training schedule for initial and recurring training (Permit Part III.D.6.f.)

Is there anything I should keep a record of?

Yes. Although not a focus of this guidance document, you must maintain the below regulatory mechanisms, maps, polices, procedures, and inventories. The MS4 Permit (citation provided in parenthesis) and other guidance documents discuss the below in more detail. Please note that if you have Alum or Ferric Chloride Phosphorus Treatment System you may have additional requirements.

* Regulatory mechanisms (Permit Part III.B.) for:
* Illicit discharges (Permit Part III.D.3.b)
* Construction stormwater (Permit Part III.D.4.a)
* Post-construction (Permit Part III.D.5.a)
* Enforcement Response Procedures (Permit Parts III.B./III.D.3.g.(3)/III.D.4.e)
* Storm Sewer System Map (Permit Part III.C.1)
* Wetland, lake, and pond inventory (Permit Part III.C.2)
* Public Outreach Implementation Plan (Permit Part III.D.1.b)
* Written procedures for site plan reviews (Permit Parts III.D.4.b. & III.D.5.b.)
* Written procedures for collecting and responding to construction stormwater complaints
(Permit Part III.D.4.c.)
* Written procedures for conducting site inspections (Permit Part III.D.4.d.)
* Facilities inventory and their associated BMPs (Permit Part III.D.6.a.&b.)
* Pond assessment procedures and schedule (Permit Part III.D.6.d.)
* The priority areas for illicit discharges and response procedures for responding to spills and reports of illicit discharges (Permit Part III D.3)