Enforcement Response Procedures MS4 Permit Section III.B

City of Rice Lake Post-Construction Stormwater Management Enforcement Response Procedures

Upon the receipt of a Land Disturbance Application by an owner to the City of Rice Lake the following procedures shall be followed to verify compliance with the City’s Post-Construction Stormwater Management Regulatory Mechanism: - The City shall follow the established site plan review process which includes a review and approval of the post-construction stormwater management practices. The City Administration shall withhold permit approvals until post-construction management features have been planned and designed to meet, at a minimum, the City’s requirements. - The City shall follow the established construction site inspection process which includes construction inspections of the post-construction stormwater practices and features. The City Administration shall withhold final acceptance of the post-construction stormwater management features until the following have been completed: - Maintenance plan has been submitted and approved - Maintenance agreement has been approved and signed - As-built drawings have been submitted to the City - Documentation certifying that the features have been constructed in accordance with design specifications provided by the City - A final inspection has been completed by City Staff or a City Representative - If following construction completion, the City has been notified or has observed that the proper maintenance has not been completed, the City shall: - Ensure that the appropriate measures are taken to promptly eliminate the violation - Evaluate the severity of the violation - Work with the City Administration to issue the appropriate notice to the violator - Direct the appropriate staff to oversee and verify compliance actions are completed - The violation, enforcement, and actions taken to resolve the violation shall be documented including: - Name or the person responsible for violating the terms and conditions of the City’s Regulatory Mechanism(s) - Date(s) and location(s) of the observed violation(s) - Description of the violation(s), including references(s) to relevant Regulatory Mechanism(s) - Corrective actions (including completion schedule) - Date(s) and type(s) of enforcement used to compel compliance (e.g. written notice, citation, stop work order, withholding of local authorizations, etc.) - Referrals to other regulatory organizations (if any) - Date(s) violation(s) resolved - Violations shall be documented with the City of Rice Lake Violation form and City of Rice Lake Violation Documentation form.