## README FIRST!
README FIRST!
1 | Please fill in as many fields as possible - if you don't know an answer, please enter "unknown." If a field does not apply to a particular BMP, please enter "n/a"
2 | Use the following BMP types and descriptions to categorize your BMP.
Basin: Surface sand filter with water storage above the filter media (vertical flow). Sides may be sloped or vertical.
Chamber: Concrete or other solid wall structure containing filter media and storage volume, typically underground.
Check Dam: Filter media incorporated into a check dam which is placed perpendicular to the flow direction (horizontal flow through media) within a swale or ditch.
Pond Bench: Filter media installed in a trench around the perimeter of a stormwater pond, typically within the safety bench of the pond below the normal water level.
Trench: Filter media installed in a trench that is stand-alone or incorporated into a bioretention practice, typically with an underdrain.
Weir: Filter media incorporated into a permeable weir wall, such as slots between composit planks or other permeable material.
3 | Comments have been added to the header fields to help describe the data being collected, please hover over the header to view comments.
4 | Please do not modify the lookup tab.
5 | If you have any issues or questions - please contact Katy at katy.thompson@respec.com or 651.305.2275.
6 | That's it, please go forth to the DATA tab and enter away. Thank you!!

## DATA
|  |  | PROJECT LOCATION | [7 empty] | PROJECT CONTACT INFORMATION |  |  |  | WATERSHED INFORMATION |  |  |  | FILTER DESIGN | [21 empty] | PERFORMANCE AND MONITORING | [7 empty] | MISCELLANEOUS
ID | Project Name | BMP Type | City | County | State | Year Built | Location Description | X-Coordinate | Y-Coordinate | Horizontal Datum | Contact Name | Contact Organization | Contact Phone | Contact Email | Watershed Land Use 1 | Watershed Land Use 2 | Watershed Area [ac] | % Impervious | Designer | Design Document Link | Design Volume [cf] | Performance Target | Design Filtration Rate [in/hr] | Drawdown Time [hr] | Inline or Offline? | Pumped Inflow? | Filter Surface Area [sf] | Filter Length [ft] | Filter Width [ft] | Filter Depth [ft] | Filter Volume [cf] | Description of Iron Type/Source | % Iron | % Sand | % Other | Other Description | Outflow Type | Discharges To? | Discharge Location Description | Construction Drawing Link | Monitored? | Access | Owner/Operating Organization | Monitoring Organization | Parameters Monitored | Lessons Learned | Data Link | Monitoring Report Link | DBF Status | Notes
1 | Long Lake East Cell | Basin | Apple Valley | Dakota | MN | 2012 | Everest Ave. & Euclid Ave. |  |  |  |  | Dakota County SWCD |  |  | Single Family Residential |  | 84 | [9 empty] | 2700 | [14 empty] | Yes
2 | Long Lake West Cell | Basin | Apple Valley | Dakota | MN | 2012 | Everest Ave. & Euclid Ave. |  |  |  |  | Dakota County SWCD |  |  | Single Family Residential |  | 84 | [9 empty] | 2700 | [14 empty] | Yes
3 | Centennial Green Iron-Enhanced Sand Filter | Pond Bench | Blaine | Anoka | MN | 2015 | 99th La. NE & Austing St. NE | 1597076.7048 | 16403933.882 | PCS NAD 1983 UTM Zone 15N (in feet) | Chris Lord | Anoka Conservation District | 763.434.2030 x13 | chris.lord@anokaswcd.org | Single Family Residential |  | 202 | unknown | Anoka Conservation District | https://www.anokaswcd.org/images/AnokaSWCD/Reports/GoldenLakeStormwaterRetrofitAssessment.pdf | 56192 | WinSLAMM model: 27 lb TP/yr | 3 |  | Inline | No | 4725 | 315 | 15 | 1.25 | 5900 | Connelly GPM ETI-CC-1004, Chicago | 6.37 | 93.6 | 0 |  | Underdrain with Impermeable Liner | Other | Anoka County Ditch 53-62, Golden Lake |  | Yes | Yes | City of Blaine | Rice Creek Watershed District | TP, TSS, N, DO, etc. |  | https://www.ricecreek.org/index.asp?SEC=31ABD821-A665-4BD3-BD8C-94D2358D5FE0&DE=1251AD30-EAAA-4AF4-82FD-294DA5462EE8&Type=B_PR |  | COMPLETE | Combined with responses from RCWD
4 | Hydes Park | Pond Bench | Waconia Township | Carver | MN | 2013 | 102nd St. on NW side of Hydes Lake | 430542 | 4963460 | NAD83 UTM15N | Masha Hoy | Carver County Water Management Organization | 952-361-1806 | mhoy@co.carver.mn.us | Rural | Transportation | n/a | 0 | Hydromethods, LLC |  |  | 90% TP and TSS Removal |  | <48 hr |  | No | 2500 |  |  |  |  | Filings | 5 | 95 |  |  | Underdrain | Lake |  |  | No | Yes | [6 empty] | COMPLETE | WP20130018
5 | Columbia Heights Library Basin | Basin | Columbia Heights | Anoka | MN | 2016 | Gould Ave. NE & Central Ave. NE | 480515 | 4987430 | NAD83 UTM15N | Lauren Letsche | City of Columbia Heights | 763-706-3709 | lletsche@columbiaheightsmn.gov | Public/Institution |  | 2.95 | 75 | HGA, Kenny Horns | [7 empty] | 14360 |  |  | 1 | 14360 | finely ground cast iron recycled from scrap iron | 5 | 95 |  | clean washed construction sand | Underdrain with Impermeable Liner | Storm Sewer |  |  | Unknown | Yes | City of Columbia Heights | City of Columbia Heights |  |  |  |  | COMPLETE | Biofiltration soils 24" deep above 12" IESF material with clean construction sand below with 6" draintile
6 | Jackson Pond | Pond Bench | Columbia Heights | Anoka | MN | 2015 | 43rd Ave. NE & Quincy St. NE | 480215 | 4988130 | NAD83 UTM15N | Lauren Letsche | City of Columbia Heights | 763-706-3709 | lletsche@columbiaheightsmn.gov | Single Family Residential | Commercial | 158 | 68 | WSB & Associates, Earth Evans | [6 empty] | yes | n/a | [13 empty] | Yes | Yes | City of Columbia Heights | Mississippi Watershed Management Organization |  |  |  |  | COMPLETE
7 | Jensen Lake East Cell | Basin | Eagan | Dakota | MN | 2012 | Carriage Hills Dr. & Barclay Cir. |  |  |  |  | Dakota County SWCD |  |  | Parking Lot | Park and Open Space | 0.84 | [9 empty] | 1000 | [14 empty] | Yes
8 | Jensen Lake West Cell | Basin | Eagan | Dakota | MN | 2012 | Carriage Hills Dr. & Coach Rd. |  |  |  |  | Dakota County SWCD |  |  | Parking Lot | Park and Open Space | n/a | [9 empty] | 1500 | [14 empty] | Yes
9 | Staring Lake Pond | Pond Bench | Eden Prairie | Hennepin | MN | 2014 | Staring Lake Pkwy | 464513 | 4965510 | NAD83 UTM15N | Leslie Stovring | City of Eden Prairie | 952-949-8327 | lstovring@edenprairie.org | Single Family Residential |  | 60.7 |  | Wenck Associates, Inc. | [7 empty] | 3200 | 320 | 10 | 0.67 | [6 empty] | Underdrain with Impermeable Liner |  |  |  | Yes | Yes | City of Eden Prairie | Wenck Associates | Chloride, TP, Orthophosphate, e. coli, TSS |  |  |  | COMPLETE
10 | Broadway IESF (Bixby, Cedar Park) | Basin | Forest Lake | Washington | MN | 2011 | 2nd Ave. NW & 8th St. NW |  |  |  |  | Comfort Lake Forest Lake Watershed District |  |  | Commercial | Single Family Residential | 65 | [9 empty] | 38000 | [13 empty] | Yes | Yes
11 | Target Store Basin | Basin | Forest Lake | Washington | MN | 2014 | 3rd Ave. SW & 12th St. SW |  |  |  |  | Comfort Lake Forest Lake Watershed District |  |  | Commercial |  | n/a |  | EOR | [5 empty] | Inline | No | 4500 | [9 empty] | Underdrain with Impermeable Liner | Creek |  |  |  | Yes | [6 empty] | COMPLETE
12 | Cottageville Park Chamber | Chamber | Hopkins | Hennepin | MN | 2015 |  | 44 55' 56.28" | 93 23' 5.35"W | WGS84 | Janna Joley | Minnehaha Creek Watershed District |  | jjoley@minnehahacreek.org | Commercial | Commercial | 22 | 85 | Wenck Associates |  |  | 26 pounds of TP and 2.8 tons of sediment | [9 empty] | Iron Aggregate ETI CC-1004 Connelly-GPM, Inc. | 5 | 95 |  |  | Underdrain | Creek |  | https://drive.google.com/open?id=162Z_S3fv6a12Gs1m-XZ1JoEGiz6yxmA5 | Yes | Yes | City of Hopkins | Minnehaha Creek WD | TP and TSS |  |  |  | COMPLETE
13 | Lake Marion Basin | Basin | Lakeville | Dakota | MN | 2013 | 20th St. W. & Juno Tr. |  |  |  | Mark Ryan | Vermillion River Watershed JPO |  |  | Single Family Residential |  | 66.5 |  |  |  |  | 9.2 lb TP/yr (MIDS) |  |  |  |  | 4000 | [14 empty] | Yes | [7 empty] | Supplemented with data from BWSR eLink
14 | Linden St. Basin | Basin | Lindstrom | Chisago | MN | 2014 | Linden St |  |  |  | Casey Thiel | Chisago SWCD | 651-674-2333 | casey.thiel@mn.nacdnet.net | Commercial | Single Family Residential | n/a | [9 empty] | n/a | [13 empty] | Yes | Yes | [6 empty] | COMPLETE
15 | HWY 610/81 Basin | Basin | Maple Grove | Hennepin | MN | 2011 | HWY 610 & HWY 81 |  |  |  | Barb Loida |  |  |  | Transportation |  | 5.418 | 72 | [8 empty] | 4500 | [9 empty] | Underdrain |  |  |  | Yes | Yes
16 | Beam Ave. Basin | Basin | Maplewood | Ramsey | MN | 2007 | Beam Ave. & Countryview Dr. |  |  |  | Tina Carstens | Ramsey-Washington Metro WD |  |  | Commercial |  | 19.6 | [9 empty] | 12000 | [13 empty] | Yes | Yes
17 | HWY 36/61 Basin | Basin | Maplewood | Ramsey | MN | 2013 | HWY 36 & HWY 61 |  |  |  | Tina Carstens | Ramsey-Washington Metro WD |  |  | Transportation |  | 27 | [9 empty] | 23000 | [14 empty] | Yes
18 | Beam Ave. Garden | Trench | Maplewood | Ramsey | MN | 2011 | Maplewood Mall |  |  |  | Tina Carstens | Ramsey-Washington Metro WD |  |  | Commercial |  | 1.8 | [9 empty] | 294 | [14 empty] | Yes
19 | Lydia Ave. Garden | Trench | Maplewood | Ramsey | MN | 2011 | Maplewood Mall |  |  |  | Tina Carstens | Ramsey-Washington Metro WD |  |  | Commercial |  | 1.5 | [9 empty] | 320 | [14 empty] | Yes
20 | Northeast Garden | Trench | Maplewood | Ramsey | MN | 2012 | Maplewood Mall |  |  |  | Tina Carstens | Ramsey-Washington Metro WD |  |  | Commercial |  | 2 | [9 empty] | 240 | [14 empty] | Yes
21 | Northwest Garden | Trench | Maplewood | Ramsey | MN | 2012 | Maplewood Mall |  |  |  | Tina Carstens | Ramsey-Washington Metro WD |  |  | Commercial |  | 1.2 | [9 empty] | 400 | [14 empty] | Yes
22 | South Garden | Trench | Maplewood | Ramsey | MN | 2012 | Maplewood Mall |  |  |  | Tina Carstens | Ramsey-Washington Metro WD |  |  | Commercial |  | 0.7 | [9 empty] | 100 | [14 empty] | Yes
23 | Southlawn Dr. Gardens | Trench | Maplewood | Ramsey | MN | 2011 | Maplewood Mall |  |  |  | Tina Carstens | Ramsey-Washington Metro WD |  |  | Commercial |  | 2.3 | [9 empty] | 875 | [14 empty] | Yes
24 | Southwest Garden | Trench | Maplewood | Ramsey | MN | 2012 | Maplewood Mall |  |  |  | Tina Carstens | Ramsey-Washington Metro WD |  |  | Commercial |  | 0.8 | [9 empty] | 95 | [14 empty] | Yes
25 | West Garden1 | Trench | Maplewood | Ramsey | MN | 2012 | Maplewood Mall |  |  |  | Tina Carstens | Ramsey-Washington Metro WD |  |  | Commercial |  | 1.9 | [9 empty] | 75 | [14 empty] | Yes
26 | West Garden2 | Trench | Maplewood | Ramsey | MN | 2012 | Maplewood Mall |  |  |  | Tina Carstens | Ramsey-Washington Metro WD |  |  | Commercial |  | 1.9 | [9 empty] | 75 | [14 empty] | Yes
27 | West Garden3 | Trench | Maplewood | Ramsey | MN | 2012 | Maplewood Mall |  |  |  | Tina Carstens | Ramsey-Washington Metro WD |  |  | Commercial |  | 1.9 | [9 empty] | 65 | [14 empty] | Yes
28 | West Garden4 | Trench | Maplewood | Ramsey | MN | 2012 | Maplewood Mall |  |  |  | Tina Carstens | Ramsey-Washington Metro WD |  |  | Commercial |  | 1.9 | [9 empty] | 65 | [14 empty] | Yes
29 | West Garden6 | Trench | Maplewood | Ramsey | MN | 2012 | Maplewood Mall |  |  |  | Tina Carstens | Ramsey-Washington Metro WD |  |  | Commercial |  | 1.9 | [9 empty] | 50 | [14 empty] | Yes
30 | West Garden7 | Trench | Maplewood | Ramsey | MN | 2012 | Maplewood Mall |  |  |  | Tina Carstens | Ramsey-Washington Metro WD |  |  | Commercial |  | 1.9 | [9 empty] | 50 | [14 empty] | Yes
31 | West Garden8 | Trench | Maplewood | Ramsey | MN | 2012 | Maplewood Mall |  |  |  | Tina Carstens | Ramsey-Washington Metro WD |  |  | Commercial |  | 1.9 | [9 empty] | 50 | [14 empty] | Yes
32 | White Bear Ave. Garden | Trench | Maplewood | Ramsey | MN | 2011 | Maplewood Mall |  |  |  | Tina Carstens | Ramsey-Washington Metro WD |  |  | Commercial |  | 0.7 | [9 empty] | 148 | [14 empty] | Yes
33 | Woodlynn Ave. Garden | Trench | Maplewood | Ramsey | MN | 2011 | Maplewood Mall |  |  |  | Tina Carstens | Ramsey-Washington Metro WD |  |  | Commercial |  | 1.8 | [9 empty] | 595 | [13 empty] | Yes | Yes
34 | 37th Ave N: Raingarden1 | Trench | Minneapolis | Hennepin | MN | 2012 | 37th Ave. & Penn Ave. |  |  |  | Nico Canterero | City of Minneapolis |  |  | Single Family Residential |  | 2.3 | [9 empty] | 228 | [13 empty] | Yes | Yes | [6 empty] | COMPLETE
35 | 37th Ave N: Raingarden2 | Trench | Minneapolis | Hennepin | MN | 2012 | 37th Ave. & Oliver Ave. |  |  |  | Nico Canterero | City of Minneapolis |  |  | Single Family Residential |  | 2.8 | [9 empty] | 128 | [13 empty] | Yes | Yes | [6 empty] | COMPLETE
36 | 37th Ave N: Raingarden3 | Trench | Minneapolis | Hennepin | MN | 2012 | 37th Ave. & Oliver Ave. |  |  |  | Nico Canterero | City of Minneapolis |  |  | Single Family Residential |  | 2.3 | [9 empty] | 205 | [13 empty] | Yes | Yes | [6 empty] | COMPLETE
37 | 37th Ave N: Raingarden4 | Trench | Minneapolis | Hennepin | MN | 2012 | 37th Ave. & Newton Ave. |  |  |  | Nico Canterero | City of Minneapolis |  |  | Single Family Residential |  | 2 | [9 empty] | 40 | [13 empty] | Yes | Yes | [6 empty] | COMPLETE
38 | 37th Ave N: Raingarden5 | Trench | Minneapolis | Hennepin | MN | 2012 | 37th Ave. & Newton Ave. |  |  |  | Nico Canterero | City of Minneapolis |  |  | Single Family Residential |  | 2.1 | [9 empty] | 103 | [13 empty] | Yes | Yes | [6 empty] | COMPLETE
39 | 37th Ave N: Raingarden6 | Trench | Minneapolis | Hennepin | MN | 2012 | 37th Ave. & Morgan Ave. |  |  |  | Nico Canterero | City of Minneapolis |  |  | Single Family Residential |  | 1.2 | [9 empty] | 73 | [13 empty] | Yes | Yes | [6 empty] | COMPLETE
40 | 37th Ave N: Raingarden7 | Trench | Minneapolis | Hennepin | MN | 2012 | 37th Ave. & Morgan Ave. |  |  |  | Nico Canterero | City of Minneapolis |  |  | Single Family Residential |  | 0.8 | [9 empty] | 113 | [13 empty] | Yes | Yes | [6 empty] | COMPLETE
41 | 37th Ave N: Raingarden8 | Trench | Minneapolis | Hennepin | MN | 2012 | 37th Ave. & Morgan Ave. |  |  |  | Nico Canterero | City of Minneapolis |  |  | Single Family Residential |  | 2 | [9 empty] | 40 | [13 empty] | Yes | Yes | [6 empty] | COMPLETE
42 | 37th Ave N: Raingarden9 | Trench | Minneapolis | Hennepin | MN | 2012 | 37th Ave. & Logan Ave. |  |  |  | Nico Canterero | City of Minneapolis |  |  | Single Family Residential |  | 3.7 | [9 empty] | 73 | [13 empty] | Yes | Yes | [6 empty] | COMPLETE
43 | 37th Ave N: Raingarden10 | Trench | Minneapolis | Hennepin | MN | 2012 | 37th Ave. & Logan Ave. |  |  |  | Nico Canterero | City of Minneapolis |  |  | Single Family Residential |  | 1.1 | [9 empty] | 65 | [13 empty] | Yes | Yes | [6 empty] | COMPLETE
44 | 37th Ave N: Raingarden11 | Trench | Minneapolis | Hennepin | MN | 2012 | 37th Ave. & Knox Ave. |  |  |  | Nico Canterero | City of Minneapolis |  |  | Single Family Residential |  | 1.5 | [9 empty] | 48 | [14 empty] | Yes | [6 empty] | COMPLETE
45 | MWMO Stormwater Park Basin | Basin | Minneapolis | Hennepin | MN | 2014 | Lowry Ave. NE & NE Marshall St. | 478588 | 4984450 | NAD83 UTM15N | Udai Singh | Mississippi WMO | 612-746-4970 | usingh@mwmo.org | Public/Institution |  | n/a |  | Barr Engineering, Kurt Leuthold | [7 empty] | 80 | [13 empty] | Yes | Yes | Mississippi Watershed Management Organization (MWMO) | MWMO |  | Currently reconstructing system |  |  | COMPLETE | Constructed ~2013, with three different media types. Have some grab samples, but setup was not effective for gathering monitoring data. Currently reconstructing inlet and weir to allow for better data, and will be reconstructing media
46 | Dutch Lake | Chamber | Minnetrista | Hennepin | MN | 2012 | Game Farm Rd. & Sterling Dr. | 44⁰ 57' 1.7676" | 93⁰ 41' 43.7064" | WGS84 | Tiffany Schaufler | Minnehaha Creek Watershed District |  | tschaufler@minnehahacreek.org | Rural | Agricultural | 608 | 31.6 | Wenck Associates | Attached to email |  | 25 pounds of phosphorus |  |  |  |  | 4800 | 240 | 20 |  |  |  | 7 |  | 93 | p-gravel | Underdrain | Creek |  | https://drive.google.com/open?id=162Z_S3fv6a12Gs1m-XZ1JoEGiz6yxmA5 | Yes | Yes | Minnehaha Creek WD | Minnehaha Creek WD | TP and TSS | Iron formed crust that made that reduced hydraulic conductivity of filter media |  |  | COMPLETE
48 | Wayzata High School Pond1 | Basin | Plymouth | Hennepin | MN | 2016 | Wayzata High School |  |  |  |  | Elm Creek WMO |  |  | Public/Institution |  | n/a | [9 empty] | n/a | [14 empty] | Yes
49 | Wayzata High School Pond2 | Basin | Plymouth | Hennepin | MN | 2016 | Wayzata High School |  |  |  |  | Elm Creek WMO |  |  | Public/Institution |  | n/a | [9 empty] | n/a | [14 empty] | Yes
50 | Prior Lake: Fish Point Park | Basin | Prior Lake | Scott | MN | 2015 | Fish Point Park | 44.7304 | -93.4102 | WGS84 | Pete Young | City of Prior Lake | 952-447-9831 | pyoung@cityofpriorlake.com | Single Family Residential |  | 89 |  | EOR | n/a |  | Phosphorus (dissolved)/yr | unknown | unknown | Offline | No | 2100 |  |  | 1.5 |  | Filings (Connelly) | 5 | 95 | 0 |  | Underdrain with Impermeable Liner | Storm Sewer |  | n/a | Yes | Yes | City of Prior Lake | PLSLWD |  |  |  |  | COMPLETE | Regular monitoring will begin in 2019 in partnership with PLSLWD
53 | Prior Lake: 11-012-1A | Pond Bench | Prior Lake | Scott | MN | 2011 | Shoreline Blvd & CSAH12 | 44.7061 | -93.4759 | WGS84 | Pete Young | City of Prior Lake | 952-447-9831 | pyoung@cityofpriorlake.com | Single Family Residential |  | 43 |  | City of Prior Lake | n/a | n/a | Phosphorus (dissolved) | unknown | unknown | Inline | No | 1900 | [5 empty] | 5 | 95 | 0 |  | Underdrain with Impermeable Liner | Lake |  | n/a | No | Yes | City of Prior Lake | [5 empty] | COMPLETE
54 | Prior Lake: 11-012-3A | Pond Bench | Prior Lake | Scott | MN | 2011 | Knollridge Dr. NW & Northwood Rd NW | 44.7113 | -93.4593 | WGS84 | Pete Young | City of Prior Lake | 952-447-9831 | pyoung@cityofpriorlake.com | Single Family Residential |  | 12.8 |  | City of Prior Lake | n/a | n/a | Phosphorus (dissolved) | unknown | unknown | Inline | No | 500 | [5 empty] | 5 | 95 | 0 |  | Underdrain with Impermeable Liner | Other | wetland | n/a | No | Yes | City of Prior Lake | [5 empty] | COMPLETE
55 | Prior Lake: 11-012-3B | Pond Bench | Prior Lake | Scott | MN | 2011 | Knollridge Dr. NW & Northwood Rd | 44.7107 | -93.4603 | WGS84 | Pete Young | City of Prior Lake | 952-447-9831 | pyoung@cityofpriorlake.com | Single Family Residential |  | 29.1 |  | City of Prior Lake | n/a | n/a | Phosphorus (dissolved) | unknown | unknown | Inline | No | 1600 | [5 empty] | 5 | 95 | 0 |  | Underdrain with Impermeable Liner | Other | wetland | n/a | Yes | Yes | City of Prior Lake | University of Minnesota |  |  |  | https://conservancy.umn.edu/handle/11299/175078 | COMPLETE
56 | Prior Lake: 11-012-4 | Pond Bench | Prior Lake | Scott | MN | 2011 | Glynwater Tr. & Brookside Ln. | 44.7229 | -93.4547 | WGS84 | Pete Young | City of Prior Lake | 952-447-9831 | pyoung@cityofpriorlake.com | Single Family Residential |  | 9.8 |  | City of Prior Lake | n/a | n/a | Phosphorus (dissolved) | unknown | unknown | Inline | No | 550 | [5 empty] | 5 | 95 | 0 |  | Underdrain with Impermeable Liner | Other | wetland | n/a | No | Yes | City of Prior Lake | [5 empty] | COMPLETE
57 | Prior Lake: 11-012-5 | Pond Bench | Prior Lake | Scott | MN | 2011 | Glynwater Tr. & Spring Cir. | 44.7235 | -93.4528 | WGS84 | Pete Young | City of Prior Lake | 952-447-9831 | pyoung@cityofpriorlake.com | Single Family Residential |  | 8.1 |  | City of Prior Lake | n/a | n/a | Phosphorus (dissolved) | unknown | unknown | Inline | No | 450 | [5 empty] | 5 | 95 | 0 |  | Underdrain with Impermeable Liner | Other | wetland | n/a | No | Yes | City of Prior Lake | [5 empty] | COMPLETE
58 | Prior Lake: 11-012-6 | Pond Bench | Prior Lake | Scott | MN | 2011 | Glynwater Tr. & Bay Knolls Dr. | 44.7236 | -93.45 | WGS84 | Pete Young | City of Prior Lake | 952-447-9831 | pyoung@cityofpriorlake.com | Single Family Residential |  | 3 |  | City of Prior Lake | n/a | n/a | Phosphorus (dissolved) | unknown | unknown | Inline | No | 456 | [5 empty] | 5 | 95 | 0 |  | Underdrain with Impermeable Liner | Other | wetland | n/a | No | Yes | City of Prior Lake | [5 empty] | COMPLETE
59 | Prior Lake: 11-012-11 | Pond Bench | Prior Lake | Scott | MN | 2011 | Five Hawks Ave. & Prior View St. | 44.7101 | -93.4359 | WGS84 | Pete Young | City of Prior Lake | 952-447-9831 | pyoung@cityofpriorlake.com | Single Family Residential |  | 19.1 |  | City of Prior Lake | n/a | n/a | Phosphorus (dissolved) | unknown | unknown | Inline | No | 750 | [5 empty] | 5 | 95 | 0 |  | Underdrain with Impermeable Liner | Creek |  | n/a | No | Yes | City of Prior Lake | [5 empty] | COMPLETE
61 | Prior Lake: 11-012-15 | Pond Bench | Prior Lake | Scott | MN | 2011 | Willow La. & Willow Beach Tr. | 44.7072 | -93.4436 | WGS84 | Pete Young | City of Prior Lake | 952-447-9831 | pyoung@cityofpriorlake.com | Single Family Residential |  | 63.7 |  | City of Prior Lake | n/a | n/a | Phosphorus (dissolved) | unknown | unknown | Inline | No | 4500 | [5 empty] | 5 | 95 | 0 |  | Underdrain with Impermeable Liner | Other | wetland | n/a | No | Yes | City of Prior Lake | [5 empty] | COMPLETE
62 | Twin Lakes Parkway Check-Dam | Weir | Roseville | Ramsey | MN | 2013 | Twin Lakes Pkwy & Cleveland Ave. | 485224.7 | 4985454 | NAD83 UTM15N | Ryan Johnson | City of Roseville | 651-792-7049 | ryan.johnson@cityofroseville.com | Transportation |  | n/a |  | University of Minnesota SAFL | [5 empty] | Inline | No | 9 | [9 empty] | No Underdrain | Storm Sewer |  |  | No | Yes | City of Roseville | UMN/SAFL | SRP | Leaks through permeable weir walls are challenging to prevent. |  | http://hdl.handle.net/11299/175560 | COMPLETE | IESF Weir was custom construction by the U of M SAFL.
63 | William Street Pond | Pond Bench | Roseville | Ramsey | MN | 2011 | William St. & Elmer St. W. | 491240.8 | 4983201 | NAD83 UTM15N | Ryan Johnson | City of Roseville | 651-792-7049 | ryan.johnson@cityofroseville.com | Single Family Residential |  | 40 | 17 | Wenck | [5 empty] | Inline | No | 586 | 160 | 3.67 | 1.5 | [6 empty] | Underdrain | Storm Sewer |  |  | Yes | Yes | City of Roseville | Capitol Region WD |  |  |  |  | COMPLETE
64 | Sand Lake Basin | Basin | Scandia | Washington | MN | 2016 | 197th St. N/19540 Oxboro Ave N | 515359 | 5009010 | NAD83 UTM15N |  | Carnelian-Marine-St.Croix WD |  |  | Rural |  | 600 | 24 | EOR | [5 empty] | Offline | No | 8000 |  |  |  |  | Filings (Connelly) |  |  |  |  | Underdrain with Impermeable Liner | Lake |  |  | Yes | Yes | CMSCWD | [5 empty] | COMPLETE
65 | Seidls Lake Basin | Basin | South St. Paul | Ramsey | MN | 2012 | 4th St. S. & 14th Ave. S. | 495900 | 4970120 | NAD83 UTM15N |  | Dakota County SWCD |  |  | Single Family Residential |  | 15.5 | 47 | [8 empty] | 480 | [14 empty] | Yes
66 | Trout Brook Nature Sanctuary - Jenks Pond | Pond Bench | St. Paul | Ramsey | MN | 2016 | Between Maryland Ave E and E Cayuga Street, west of I35E | 492716.9 | 4979745 | NAD83 UTM15N | Bridget Osborn | HR Green | 651.659.7775 | bosborn@hrgreen.com | Multi-Family Residential | Industrial | 66.7 | 11.7 | Bridget Osborn, HR Green |  |  | 1-inch CRWD Retention Requirement | 2.9 | 43 | Inline | No | 2500 | 250 | 10 | 1.5 | 3750 | Connelly GPM, INC. | 5 | 95 |  |  | Underdrain | Creek | Outlets to wetland then Trout Brook |  | Yes | Yes | St. Paul Parks | City of St. Paul |  |  |  | https://www.stpaul.gov/sites/default/files/Media%20Root/Public%20Works/2018%20Stormwater%20Quantity%20and%20Quality%20Monitoring%20Report.pdf | COMPLETE
67 | Trout Brook Nature Sanctuary - Magnolia Pond | Pond Bench | St. Paul | Ramsey | MN | 2015 | Between Maryland Ave E and E Cayuga Street, west of I35E | 492662.6 | 4980064 | NAD83 UTM15N | Bridget Osborn | HR Green | 651.659.7774 | bosborn@hrgreen.com | Multi-Family Residential | Industrial | 42.9 | 10.4 | Bridget Osborn, HR Green |  |  | 1-inch CRWD Retention Requirement | 2.9 | 45 | Inline | No | 1500 | 150 | 10 | 1.5 | 2250 | Connelly GPM, INC. | 5 | 95 |  |  | Underdrain | Creek | Outlets to wetland then Trout Brook |  | Yes | Yes | St. Paul Parks | City of St. Paul |  |  |  | https://www.stpaul.gov/sites/default/files/Media%20Root/Public%20Works/2018%20Stormwater%20Quantity%20and%20Quality%20Monitoring%20Report.pdf | COMPLETE
68 | Trout Brook Nature Sanctuary - Maryland Pond | Pond Bench | St. Paul | Ramsey | MN | 2014 | Between Maryland Ave E and E Cayuga Street, west of I35E | 492666.7 | 4980320 | NAD83 UTM15N | Bridget Osborn | HR Green | 651.659.7773 | bosborn@hrgreen.com | Multi-Family Residential | Industrial | 34.8 | 16 | Bridget Osborn, HR Green |  |  | 1-inch CRWD Retention Requirement | 2.9 | 44 | Inline | No | 3800 | 380 | 10 | 1.5 | 5700 | Connelly GPM, INC. | 5 | 95 |  |  | Underdrain | Creek | Outlets to wetland then Trout Brook |  | Yes | Yes | St. Paul Parks | City of St. Paul |  |  |  | https://www.stpaul.gov/sites/default/files/Media%20Root/Public%20Works/2018%20Stormwater%20Quantity%20and%20Quality%20Monitoring%20Report.pdf | COMPLETE
69 | Settlers Glen Iron Enhanced Sand Filter | Pond Bench | Stillwater | Washington | MN | 2013 | Morgan Ave. N | 511881 | 4990410 | NAD83 UTM15N |  | Brown's Creek WD |  |  | Single Family Residential |  | 1200 |  | EOR |  |  | 118 lb TP/yr (BWSR eLink) |  |  | Offline | Yes | 2500 | 200 | [8 empty] | Underdrain with Impermeable Liner | Creek |  |  | Yes | Yes | [6 empty] | COMPLETE | Was called Morgan Ave Swale, supplemented with BWSR eLink data
70 | Stillwater Blvd N Check-Dam1 | Check Dam | Stillwater | Washington | MN | 2014 | McDonald Dr. N & Stillwater Blvd. |  |  |  | Barb Loida |  |  |  | Transportation |  | 0.7 |  |  |  | 924 | [5 empty] | 924 | [14 empty] | Yes
71 | Stillwater Blvd N Check-Dam2 | Check Dam | Stillwater | Washington | MN | 2014 | McDonald Dr. N & Stillwater Blvd. |  |  |  | Barb Loida |  |  |  | Transportation |  | 0.7 |  |  |  | 550 | [5 empty] | 550 | [9 empty] | Underdrain |  |  |  | Yes | Yes
72 | Whitaker Pond Weir | Weir | White Bear Lake | Ramsey | MN | 2010 | Whitaker St. & Whitaker Ct. |  |  |  |  | Vadnais Lakes Area WMO |  |  | Single Family Residential | Transportation | 620 | [10 empty] | 250 | [8 empty] | Underdrain |  |  |  | Yes | Yes
73 | Martha Lake Basin | Basin | Buffalo | Wright | MN | 2012 | 10th St. SE & Hamlin Ave. SE | 441890 | 4998440 | NAD83 UTM15N | Luke Johnson | Wright SWCD | (763) 682-1933 Ext. 3 | Luke.Johnson@mn.nacdnet.net | Rural | Agricultural | 18.6 | 0 | Michael Mayer |  | 1000 | 60% |  |  | Inline | No | 1000 | 50 | 20 | 1 | 1000 | Connelly GPM Iron Aggregate | 5 | 95 | 0 |  | Underdrain | Other | Agricultural Ditch, 200 yards upstream of Martha Lake |  | Yes | Yes | Wright SWCD | UMN/SAFL | TP, SRP, Flow | Tile drainage still flashy, low baseflow did not reduce performance |  | http://hdl.handle.net/11299/188974 | COMPLETE
74 | Baytree Ct. Basin | Trench | St. Peters | St. Charles | MO | 2014-15 | Baytree Ct. | [7 empty] | Single Family Residential |  | 14.8 |  |  |  | 654 | [5 empty] | 654 | [9 empty] | Underdrain |  |  |  | Yes | Yes
75 | Cherry Creek Ct. Basin | Trench | St. Peters | St. Charles | MO | 2014-15 | Cherry Creek Ct. | [7 empty] | Single Family Residential |  | 40.6 |  |  |  | 1113 | [5 empty] | 1113 | [9 empty] | Underdrain |  |  |  | Yes | Yes
76 | Chestnut Pines Ct. Basin | Trench | St. Peters | St. Charles | MO | 2014-15 | Chestnut Pines Ct. | [7 empty] | Single Family Residential |  | 13.6 |  |  |  | 1206 | [5 empty] | 1206 | [9 empty] | Underdrain |  |  |  | Yes | Yes
77 | Dogwood Meadow Ct. Basin | Trench | St. Peters | St. Charles | MO | 2014-15 | Dogwood Meadow Ct. | [7 empty] | Single Family Residential |  | 29.8 |  |  |  | 1317 | [5 empty] | 1317 | [14 empty] | Yes
78 | Entrance Basin | Trench | St. Peters | St. Charles | MO | 2014-15 | Ohms Rd. & W Sunny Hill Blvd | [7 empty] | Single Family Residential |  | 25.5 |  |  |  | 621 | [5 empty] | 621 | [14 empty] | Unknown
79 | Orchid Blossum Ct. Basin | Trench | St. Peters | St. Charles | MO | 2014-15 | Orchid Blossum Ct. | [7 empty] | Single Family Residential |  | 15.6 |  |  |  | 1056 | [5 empty] | 1056 | [14 empty] | Unknown
80 | Lakemont Park Basin | Basin | Bellevue | King | WA | 1996 (2002) | Lakemont Park |  |  |  | Robert Nolan | Washington State Dept. of Ecology | 425-649-7197 | rnol461@ecy.wa.gov | Single Family Residential |  | 252 |  |  |  | 47000 | [5 empty] | 47000 | [14 empty] | Unknown |  |  |  | I corresponded with JHawley of Barr several years ago regarding this facility. Facility plugged due to silt loading, standing water went anaerobic creating ferrous iron, which migrated down to the aerobic underdrain and precipitated into rock hard material. What a mess.
81 | Hansen Park IESF | Basin | New Brighton | Ramsey | MN | 2018 | North end of park, along 7th Street, between 13th Ave and 17th Ave |  |  |  | Kyle Axtell | Rice Creek WD | 763-398-3072 | kaxtell@ricecreek.org | Single Family Residential | Commercial | 4675 | unknown | Rice Creek WD/Houston Engineering | https://www.ricecreek.org/vertical/sites/%7BF68A5205-A996-4208-96B5-2C7263C03AA9%7D/uploads/Hansen_Park_Summary_Memo_FINAL.pdf | 33420 | 29-36 lb TP/yr (Eqtn 6: Erickson, Andrew J., John S. Gulliver, and Peter T. Weiss. "Capturing phosphates with iron enhanced sand filtration." Water research 46.9 (2012): 3032-3042. ) |  |  | Offline | Yes | 4 @ 1200 each (avg) |  |  | 1.5 | 7200 | Connelly GPM, Chicago | 5 | 95 | 0 |  | Underdrain | Other | Ramsey County Ditch 2, Long Lake | https://www.ricecreek.org/vertical/sites/%7BF68A5205-A996-4208-96B5-2C7263C03AA9%7D/uploads/Hansen_Park_Construction_Plans_MASTER.pdf | Yes | Yes | Rice Creek WD | Rice Creek WD | TP, TSS, N, DO, etc. |  |  |  | COMPLETE
82 | Oasis Pond IESF | Basin | Roseville | Ramsey | MN | 2018 | East end of Oasis Pond, SW of interseciton of County Road C2 and Lincoln Dr. | 486650 | 4985980 | NAD83 UTM15N | Kyle Axtell | Rice Creek WD | 763-398-3072 | kaxtell@ricecreek.org | Commercial | Single Family Residential | 580 | unknown | Rice Creek WD/Houston Engineering | https://www.ricecreek.org/vertical/sites/%7BF68A5205-A996-4208-96B5-2C7263C03AA9%7D/uploads/Oasis_Pond_IESF_Feasibility_Report_FINAL.pdf | 30180 | 34 lb TP/yr |  |  | Offline | Yes | 2 @ 1100 SF each |  |  | 1.5 | 3300 | Connelly GPM, Chicago | 5 | 95 | 0 |  | Underdrain | Other | Ramsey County Ditch 4, Little Lake Johanna | https://www.ricecreek.org/vertical/sites/%7BF68A5205-A996-4208-96B5-2C7263C03AA9%7D/uploads/FINAL_plan_sheets_only_20171212.pdf | Yes | Yes | City of Roseville | Rice Creek WD | TP, TSS, N, DO, etc. |  |  |  | COMPLETE
83 | Ramsey County Ditch 11 IESF | Basin | White Bear Township | Ramsey | MN | 2020 | West of Eagle Street, south of Park Avenue |  |  |  | Kyle Axtell | Rice Creek WD | 763-398-3072 | kaxtell@ricecreek.org | Single Family Residential | Commercial | 400 | unknown | Rice Creek WD/Houston Engineering |  | 33600 | 43 lb TP/yr; 1.4 ton TSS/yr |  |  | Offline | Yes | 3 @ 1200 each |  |  | 1.5 | 5400 |  | 5 | 95 | 0 |  | Underdrain | Other | Ramsey County Ditch 11, BaldEagle Lake | n/a | Yes | Yes | Rice Creek WD | Rice Creek WD | TP, TSS, N, DO, etc. |  |  |  | COMPLETE | Project being designed this year, will be owned/operated/monitored by RCWD (Bald Eagle Lake IESF in BWSR eLink)
84 | Oak Glen Creek IESF/Treehouse Foods Pond | Pond Bench | Fridley | Anoka | MN | 2017 | 7350 Commerce Lane NE | 478768.4 | 4994430 | NAD83 UTM15N | James Kosluchar | City of Fridley | 763-238-8047 | jim.kosluchar@fridleymn.gov | Single Family Residential | Commercial | 520 |  | Wenck, Inc. |  |  | 109 lbs TP/yr | 2.5 |  | Inline | No | 7657 | 124.5 | 61.5 | 1 | 7657 | Connelly GPM ETI-CC-1004 | 8 | 92 | 0 |  | Underdrain with Impermeable Liner | Storm Sewer | Oak Glen Creek | https://www.anokaswcd.org/images/AnokaSWCD/Projects/Active_Projects/Oak_Glen_Creek/ExhibitC_Designs_and_Specs.pdf | Unknown | Unknown | City of Fridley | [5 empty] | COMPLETE
85 | Golden Lake Stormwater Treatment Pond IESF | Basin | Circle Pines | Anoka | MN | 2019 |  | 487558 | 4998885 | NAD83 UTM15N | Patrick Antonen | City of Circle Pines | 763.784.5898 | pantonen@ci.circle-pines.mn.us | Single Family Residential |  | 6426 |  | City of Circle Pines | https://www.ci.circle-pines.mn.us/vertical/sites/%7BEF567A3D-21B2-43D8-AD9B-EC198D426DD6%7D/uploads/IESF_Grant_Application.pdf |  | 40-60 lb TP/yr | 2.5 |  | Offline | Yes | [5 empty] | Connelly GPM ETI-CC-1004 | [16 empty] | COMPLETE
86 | St. Anthony Regional Stormwater Treatment and Research System | Chamber | St. Anthony Village | Hennepin | MN | 2016 | Lowry Ave. & New Brighton Blvd |  |  |  | Brian Jastram | Mississippi WMO | 612-746-4970 | bjastram@mwmo.org | Single Family Residential | Commercial | 591 |  | WSB & Associates, Bill Alms |  |  | Combined with larger treatment system, 63% TSS reduction, 57% TP reduction |  |  |  | yes | 1000 | 50 | 20 | 5 |  | Connelly GPM ETI-CC-1004 | 5 | 95 |  |  | Underdrain | Stormwater system | Pipe at border between St Anthony Village and Minneapolis on CSAH 88 |  | Yes | Yes | City of St. Anthony Village /Mississippi Watershed Management Organization | MWMO | Continuous monitoring for water quality and flow in and out of IESF and larger treatment system | Clogging of subsurface IESF, loss of infiltration, challenging to maintain | https://www.mwmo.org/management/water-quality-monitoring/bmp-monitoring/ |  | COMPLETE
87 | Janet Wallace raingarden | Basin | St. Paul | Ramsey | MN |  | Macalester College |  |  |  | Suzanne Savanic Hansen | Macalester College | shansen2@macalester.edu |  | Public/Institution | [34 empty] | Confirm with Pat Murphy
88 | St. Sauver Good Lake IESF | Basin | Scandia | Washington | MN | 2018 | 22010 Oldfield Ave N | 45.3647 | 92.8144 | lat/long | Mike Isensee | Washington Conservation District |  |  | Agricultural | Agricultural | 50 |  | EOR |  | 16872 | 35 lb TP/yr (p8) |  |  | Inline | No | 8751 | 180 | 15 | 1.8 | 15752 | Filings (Plaisted) | 5 | 95 | 0 |  | Underdrain with Impermeable Liner | Lake | Goose Lake |  | Yes | Yes | CMSCWD | [5 empty] | COMPLETE
89 | SAP 082-623-009 Biofiltration and IESF | Basin | Oak Park Heights | Washington | MN | 2016 |  |  |  |  | Mike Isensee | Washington Conservation District | [28 empty] | Yes | Unknown | MSCWMO
90 | SAP 082-604-012 Pine-Robert Iron Enhanced Sand Filter | Basin | Marine on St. Croix | Washington | MN | 2017 | Pine Street & Robert Street | 515115 | 266100 | NAD83 Washington County USF | Mike Isensee | Washington Conservation District |  |  | Single Family Residential | Residential | 5 |  | EOR |  | 1323 | 3.18 lb TP/yr (BWSR Calc Sheet); 0.56 ton TSS/yr (BWSR Calc Sheet) |  |  | Inline | No | 340 | 32 | 11 | 1.8 | 612 | Filings (Plaisted) | 5 | 95 | 0 |  | Underdrain with Impermeable Liner | Creek | Mill Stream |  | Yes | Yes | CMSCWD | [5 empty] | COMPLETE
91 | Brookview Townhomes HOA | Basin | Woodbury | Washington | MN | 2017 | 857 Sunrise Dr |  |  |  | Andy Schilling | Washington Conservation District | [9 empty] | 2 lb TP/yr; 3.5 lb TN/yr; 500 lb TSS/yr per MIDS calculator |  |  |  |  | 17420 | [15 empty] | Landowner
92 | SAP 082-626-003 Wet Pond and IESF | Pond Bench | Oak Park Heights | Washington | MN | 2016 | 5965 Osgood Ave N |  |  |  | Mike Isensee | Washington Conservation District | [30 empty] | Washington County
93 | SAP 082-623-009 IESF | Basin | Oak Park Heights | Washington | MN | 2016 | 6124 Beach Rd N |  |  |  | Mike Isensee | Washington Conservation District | [9 empty] | 5.99 lb TP/yr & 1312 lb TSS/yr - unknown calculation | [19 empty] | Yes | Washington County
94 | Stillwater Junior High Biofiltration and IESF | Basin | Stillwater | Washington | MN | 2018 | 1111 Holcombe St S |  |  |  | Mike Isensee | Washington Conservation District | [9 empty] | 15.1 lb TP/yr (WinSLAMM) | [19 empty] | Yes | Landowner
96 | Doran Tamarack Village Shopping IESF |  | Woodbury | Washington | MN |  | 8418 Tamarack VLG |  |  |  |  | Washington Conservation District | [14 empty] | 2000
97 | Quixote Iron Enhanced Sand Filter | Basin | Lakeland | Washington | MN | 2015 | Quixote Avenue |  |  |  | John Parotti | City of Lakeland | [9 empty] | 0.35 lb TP/yr |  |  |  |  | 180 | [15 empty] | City of Lakeland
98 | Wilmes IESF | Pond Bench | Woodbury | Washington | MN | 2015 | sw corner of Wynstone Dr and Schooner Way | 479,803.3491 ft | 166,691.5056 ft | NAD_1983_UTM_Zone_15N | Andy Schilling | South Washington Watershed District | 651-714-3717 | andrew.schilling@gmail.com | Single Family Residential |  | 120 | Unknown | Bolton and Menck (Tim Olson) |  |  | TP removal 16lbs/yr (WinSLAMM) |  |  | Offline | No | 1700 | 170 | 10 | 1.4 | 2380 | Plaisted? | 5 | 95 | 0 | covered with river rock as erosion control | Underdrain with Impermeable Liner | Lake | Discharges within existing outlet manhole structure |  | No | Yes | SWWD and City of Woodbury | SWWD | Attempted to monitor inlet and underdrain but occaisional downstream tailwater has made underdrain monitoring difficult | Adding flap gates to underdrain and raising pond outlet so live storage can optimize sand filter | can be sent as attachment upon request |  | COMPLETE
99 | Woodcrest Pond Biochar/IESF | Pond Bench | Coon Rapids | Anoka | MN | 2020 | Woodcrest Park, just DS of Hwy 10 | 45.1193 | -93.2776 | lat/long | Justine Dauphinais | Coon Creek Watershed District | 7637550975 | jdauphinais@cooncreekwd.org |  |  |  |  | Ed Matthiesen (Wenck Associates) | N/A | unknown | 69 lbs/yr TP removal + E coli removal | unknown | unknown | Inline | No | 19800 | 300 | 66 | 1 | 19800 | Plaisted Companies? | 5 | TBD | TBD | 2 equally sized filter cells, one with biochar source TBD | Underdrain with Impermeable Liner |  | Creek | N/A | Yes | Yes | City of Coon Rapids | Coon Creek Watershed District | TP, OP, E. coli grab samples | TBD | TBD | TBD | COMPLETE
100 | Holiday Station Store IESF | Basin | Oak Park Heights | Washington | MN |  | 14773 60th St N |  |  |  | Mike Isensee | Washington Conservation District | [12 empty] | Inline | No | [10 empty] | Underdrain
101 | Dieg Pond IESF (Pond LA2-A) | Basin | Burnsville | Dakota | MN | 2017 | Frontier Court & McAndrews Rd | 479961.6 | 4955718 | NAD83 UTM15N | Daryl Jacobson | City of Burnsville | 952-895-4574 | Daryl.Jacobson@burnsvillemn.gov | Single Family Residential | Multi-Family Residential | 0.3 | 41 | Jake Newhall |  | 50000 | 26 lbs of tp/yr (P8) | 1.6 | 48 | NA | No | 7600 |  |  |  |  | Iron Filings from Chicago | 5 |  |  |  | Underdrain | Storm Sewer |  |  | Yes | Yes | City of Burnsville | City of Burnsville | TP and TSS, grab samples | important to remove the thin "film" layer at least every year. This "film" greatly impedes the ability to filter water through the IESF. |  |  | COMPLETE
102 | Lake Susan Park Pond | Basin | Chanhassen | Carver | MN | 2018 | Lake Susan Park, 903 Lake Dr East | 44.8549 | -93.5475 | lat/long | Claire Bleser or Scott Sobiech | Riley Purgatory Bluff Creek Watershed District | 952-607-6512 or 952-832-2755 | cbleser@rpbcwd.org or ssobiech@barr.com | Commercial | Residential | 2553 |  | Barr Engineering | https://www.ci.chanhassen.mn.us/DocumentCenter/View/1895/Lake-Susan-UAA?bidId= | 7000 | Remove Phosphorus | 1.6 | 48 | Offline | Yes | 6000 | 265 | 23 | 1.5 | 9000 | Iron Aggregate (spec ETI CC-1004) shall be provided by Connely-GPM, INC., 3154 South California Avenue, Chicago, IL 60608-5176, PHONE: (773) 247-7231, or Engineer-approved equivalent, and be completely mixed/blended into the washed sand. The mixture of iron aggregate and sand shall consist of a minimum of 5% and a maximum of 6% iron aggregate, by weight. | 5 | 95 |  |  | Underdrain with Impermeable Liner |  | Riley Creek | unknown | Yes | Yes | City of Chanhassen | Riley Purgatory Bluff Creek Watershed District | TP, TDP | n/a | n/a | n/a | COMPLETE
103 | ISD 196: Deerwood/Black Hawk | Pond Bench | Eagan | Dakota | MN | 2014 | 1480 Deerwood Dr |  |  |  | Eric Macbeth | City of Eagan | 651-675-5330 | emacbeth@cityofeagan.com
104 | North Lake DA | Pond Bench | Eagan | Dakota | MN | 2016 | 935 Aldrin Dr |  |  |  | Eric Macbeth | City of Eagan | 651-675-5330 | emacbeth@cityofeagan.com
105 | Shingle Creek Crystal IESF | Pond Bench | Crystal | Hennepin | MN | 2017 | North Lions Park | 45.0655 | -93.3677 | lat/long | Sarah Nalven | Wenck | 763.252.6879 | snalven@wenck.com | Single Family Residential | Commercial | 931 | 40 |  |  |  | 77% TP removal |  |  | Inline | No | 1125 | 125 | 9 | 0.5 | 562.5 | 5% by weight from Plaisted Companies |  |  |  |  | Underdrain | Storm Sewer | unknown |  | Yes | Yes | Shingle Creek WMC | Shingle Creek WMC | TP, OP, TSS, E. coli, ~every 2 weeks during summer |  | unknown | unknown | COMPLETE
106 | West Mississippi Champlin IESF | Pond Bench | Champlin | Hennepin | MN | 2017 | east of Lifetime Fitness and west of TH169 | 45.1728 | -93.3914 | lat/long | Sarah Nalven | Wenck | 763.252.6879 | snalven@wenck.com | Commercial | Park and Open Space | 26 | 70 |  |  |  | 90% Ecoli removal, 77% TP removal |  |  | Inline | No | 392 | 98 | 4 | 0.5 | 196 | 5% by weight from Plaisted Companies |  |  | 33% biochar by volume |  | Underdrain | Storm Sewer | unknown |  | Yes | Yes | West Mississippi WMC | West Mississippi WMC | TP, OP, TSS, E. coli, ~every 2 weeks during summer |  | unknown | unknown | COMPLETE
107 | Parking Lot M2 | Basin | Duluth | St. Louis | MN |  | Lot M2- UMD Campus |  |  |  | Erik Larson | University of Minnesota | 218-726-6915 | elarson@d.umn.edu | Parking Lot | Public/Institution | 2.43 | 1.56 | TKDA | [5 empty] | Inline | No | 10890 |  |  | 12 |  | Connelly GPM | 5 | 95 |  |  | Underdrain |  |  |  | Yes |  | UMD | UMD - Gustavo Merten | Phosphate, Volume, Temperature |  |  |  | COMPLETE
108 | Parking Lot G | Basin | Duluth | St. Louis | MN |  | Lot G - UMD Campus |  |  |  | Erik Larson | University of Minnesota | 218-726-6915 | elarson@d.umn.edu | Parking Lot | Public/Institution | 0.8 | 0.64125 | LHB, Inc. |  | 1412 |  |  |  | Inline | No | [5 empty] | Connelly GPM | 5 | 95 |  |  | Underdrain |  |  |  | No | [7 empty] | COMPLETE
109 | Brookview Driving Range IESF 1 | Basin | Golden Valley | Hennepin | MN | 2017 | Brookview Driving Range | -93.3859 | 44.9739 | D_NAD_1983_HARN_Adj_MN_Hennepin | Drew Chirpich | City of Golden Valley | 763-593-8044 | dchirpich@goldenvalleymn.gov | Single Family Residential | Parking Lot |  |  | HGA | [6 empty] | No | 917 | 65 | 15 | 1.5 | 1375.5 | Filings | 5 | 95 |  | Filtration | Underdrain | Storm Sewer |  |  | No | Yes | City of Golden Valley | n/a | n/a | n/a | n/a | n/a | COMPLETE
110 | Olympia IESF | Basin | Golden Valley | Hennepin | MN | 2018 | Olympia St & Independence Ave | -93.3999 | 44.9968 | D_NAD_1983_HARN_Adj_MN_Hennepin | Drew Chirpich | City of Golden Valley | 763-593-8044 | dchirpich@goldenvalleymn.gov | Single Family Residential |  |  |  | SEH | [6 empty] | No | 9319.5 | 180 | 54 | 1.5 | 13979.25 | Filings | 5 | 95 |  | Filtration | Underdrain | Storm Sewer |  |  | No | Yes | City of Golden Valley | n/a | n/a | n/a | n/a | n/a | COMPLETE | GMH Asphalt Corp. constructed at a cost of $4,602 in 2018; 31 Tons of Iron Filings (5%) and 525 CY fine filter aggregate (CV) per City Council meeting minutes, contact voucher No. 3
111 | Springbrook Weir Biochar/IESF | Weir | Fridley | Anoka | MN | 2018 | Outlet of Springbrook Nature Center just US of railroad | 45.1584 | -93.2859 | lat/long | Justine Dauphinais | Coon Creek Watershed District | 7637550976 | jdauphinais@cooncreekwd.org |  |  |  |  | Ed Matthiesen (Wenck Associates) | N/A | unknown | demonstration | unknown | unknown | Inline | No | 22.5 | 15 | 1.5 | 4 | 90 | Plaisted Companies premix | 5 | 88 | 7 | Biochar from | Underdrain with Impermeable Liner |  | Creek | N/A | Yes | No | Coon Creek Watershed District | Coon Creek Watershed District | TSS, TP, OP, E. coli grab samples x 10/yr | filter sock on effluent pipe=clogging, Midway through year 2 of operation seeing 90% E coli reductions and 62% TP reduction | Raw data available upo request | Raw data available upo request | COMPLETE
112 | Fridley Civic Campus |  | Fridley | Anoka | MN |  | 7071 University Avenue NE |  |  |  | James Kosluchar | City of Fridley | 763-238-8047 | jim.kosluchar@fridleymn.gov
113 | Prior Lake: Sand Point Beach Park | Basin | Prior Lake | Scott | MN | 2018 | Sand Point Beach Park | 44.7403 | -93.4046 | WGS84 | Pete Young | City of Prior Lake | 952-447-9831 | pyoung@cityofpriorlake.com | Single Family Residential |  | 81.9 |  | EOR/WSB | n/a | n/a | Phosphorus (dissolved) | unknown | unknown | Offline | No | 7200 |  |  | 1.5 |  |  | 5 | 95 | 0 |  | Underdrain with Impermeable Liner | Lake |  | n/a | No | Yes | City of Prior Lake | [5 empty] | COMPLETE
114 | North Lake Storm Water Improvements | Pond Bench | Albany | Stearns | MN |  | 1/3 mile north of North Lake | 45.3835.06 | 94.3401.83 |  | Wayne Cymbaluk | Stearns County SWCD | 320-345-6492 | wayne.cymbaluk@mn.nacdnet.net | Agricultural |  |  | 2.7 | Stantec | [5 empty] | Inline | No | 5200 | 520 | 10 | 3 | 7128 | Elk River? | 5 | 95 | 0 |  | Underdrain | Other | Overflow to natural drainage way. |  | No | Yes | City of Albany | Stearns SWCD | Remains in place/Veg Establishment |  |  |  | COMPLETE
115 | Bayview Ponds | Pond Bench | Center City | Chisago | MN | [5 empty] | Casey Thiel | Chisago SWCD | 651-674-2333 | casey.thiel@mn.nacdnet.net
116 | Lakeview Clinic | Basin | Chaska | Carver | MN | 2013 | Near intersection of HWY 41 and Pioneer Trail | 452325 | 4963980 | NAD83 UTM15N | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | Parking Lot | Public/Institution | 2.7 | 59.5 | Loucks Associates |  | 6285 | 90% TP and TSS Removal |  | <48 hr |  | No | [5 empty] | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20130005
117 | Meridian Fields | Basin | Carver | Carver | MN | 2019 | Near NE corner of HWY 212 and CSAH 11 (JCP) | 448875 | 4957960 | NAD83 UTM15N | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | Single Family Residential |  | 9.41 | 49.63 | Westwood |  | 17163 | 90% TP and TSS Removal |  | <48 hr |  | No | [5 empty] | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20180031
119 | Wheelock Parkway IESF | Pond Bench | St. Paul | Ramsey | MN | [5 empty] | Pat Murphy | City of St. Paul |  | patrick.g.murphy@ci.stpaul.mn.us | [35 empty] | Confirm with Pat Murphy
120 | Brookview Community Center IESF 3 | Basin | Golden Valley | Hennepin | MN | 2018 | Brookview Community Center | -93.3854 | 44.9773 | D_NAD_1983_HARN_Adj_MN_Hennepin | Drew Chirpich | City of Golden Valley | 763-593-8044 | dchirpich@goldenvalleymn.gov | Single Family Residential | Parking Lot |  |  | HGA | [6 empty] | No | 1328 | 36 | n/a | 1.5 | 1992 | Filings | 5 | 95 |  | Filtration | Underdrain | Storm Sewer |  |  | No | Yes | City of Golden Valley | n/a | n/a | n/a | n/a | n/a | COMPLETE
121 | Bruce Filtration Basin | Basin | Maple Grove | Hennepin | MN | 2012 | TH 610 & CR 81 (SP 2771-38) | -93.4401 | 45.1302 | GCS_WGS_1984 | Beth Neuendorf | MnDOT | 651-234-7520 | beth.neuendorf@state.mn.us | Transportation | Transportation | 6.4 | 100 |  | HydroCAD Report proposed conditions_2771-31_hcad.pdf | 3.75 AF 100 year | Experimental/Test Pond | 1.6 | 48 | Inline | No | 210 | 90 | 70 | 3 |  | Iron Filings Scrren Spec ET1 CC-1004 | 5 | 80 | 15 | Grade 2 compost mixture | Underdrain | Storm Sewer | Elm Creek | Bruce Pond Modified Plans.pdf | [8 empty] | COMPLETE
122 | Valley Filtration Basin | Basin | Afton | Washington | MN | 2017 | TH 95 & Valley Creek Rd (SP 8208-37) | -92.8624 | 44.9195 | GCS_WGS_1984 | Beth Neuendorf | MnDOT | 651-234-7520 | beth.neuendorf@state.mn.us | Transportation | Transportation | [7 empty] | 48 | Inline | No |  |  |  | 8 |  | Iron Filing greater than 87% metallic Iron | 5 | 95 | 0 |  | Underdrain with Impermeable Liner | Other | Ditch | [9 empty] | COMPLETE
123 | Fountain Park | Pond Bench | Waconia | Carver | MN | 2015 | 200 South Vine Street | 437617 | 4966420 | NAD83 UTM15N | Craig Eldred | City of Waconia | 952-442-4265 | celdred@waconia.org | Single Family Residential | Parking Lot | 60 | 48 | Bolton & Menk | 2015 Infrastructure Improvement Project |  | 90% TP and TSS Removal |  | <48 hr |  | No | 80 | 20 | 4 | 3 | 667 | (ETI-CC-1004(-8+50)) Connelly | 5 | 95 |  |  | Underdrain | Lake | EOF Structure |  | Yes | Yes | City of Waconia | City of Waconia | TSS Phosphorus | Seen reduction results | City/MVTL |  | COMPLETE | Combined with responses from Carver Co. WMO
124 | Regions Hospital Ambulance Underground IESF | Chamber | St. Paul | Ramsey | MN | ? | Regions Hospital |  |  |  | Bill Howden | PRIVATE |  | william.l.howden@healthpartners.com | [28 empty] | PRIVATE? | [6 empty] | Confirm with Pat Murphy
125 | Sunrise Banks Office Building |  | St. Paul | Ramsey | MN | ? | 200 University Ave |  |  |  | Melodie Carlson | PRIVATE |  | melodie.carlson@sunrisebanks.com | [28 empty] | PRIVATE? | [6 empty] | Confirm with Pat Murphy
126 | Community School of Excellence |  | St. Paul | Ramsey | MN | ? | 1335 Pierce Butler Route |  |  |  | J. Kou Vang | PRIVATE |  | jkvang@jbvang.com | [28 empty] | PRIVATE? | [6 empty] | Confirm with Pat Murphy
127 | St. Paul Police Public Safety Training Facility |  | St. Paul | Ramsey | MN | ? | 345 St. Peter St (1900 Landmark Towers) |  |  |  | Kathryn Sarnecki | PRIVATE |  | kls@sppa.com | [28 empty] | PRIVATE? | [6 empty] | Confirm with Pat Murphy
128 | Regions Birth Center |  | St. Paul | Ramsey | MN | ? | 640 Jackson Street |  |  |  | Kristian Thonvold | PRIVATE |  | kristian.g.thonvold@healthpartners.com | [28 empty] | PRIVATE? | [6 empty] | Confirm with Pat Murphy
129 | Westside IESF | Basin | St. Louis Park | Hennepin | MN | 2018 | Westside Center, TH100 & Westside Dr | 472390 | 4978450 | NAD83 UTM15N | Erick Francis | City of St. Louis Park |  | efrancis@stlouispark.org | Commercial | Industrial | [32 empty] | COMPLETE
130 | Twin Lakes Parkway Pond IESF | Pond Bench | Roseville | Ramsey | MN | 2016 | Twin Lakes Pkwy & Fairview Ave. | 486024.1 | 4985815 | NAD83 UTM15N | Ryan Johnson | City of Roseville | 651-792-7049 | ryan.johnson@cityofroseville.com | Transportation |  | 6.54 | 83.53 | SRF | [5 empty] | Inline | No | 702 | 351 | 2 | 1.5 | [6 empty] | Underdrain | Lake |  |  | No | Yes | City of Roseville | [5 empty] | COMPLETE
131 | ED-P5 IESF | Basin | Cottage Grove | Washington | MN | 2012 | North of 80th Street and East of Jensen Avenue in Kingston Park | 478,085.1806 ft | 133,878.9153 ft | NAD_1983_UTM_Zone_15N | Ryan Burfeind | City of Cottage Grove | 651.458.2899 | rburfeind@cottagegrovemn.gov | Single Family Residential | Park and Open Space | 82 | Unknown | Stantec |  |  | TP removal 15.5 lbs/yr |  |  | Inline | No | 17500 | 150 | 95 |  |  |  | 5 | 95 | 0 |  | Underdrain with Impermeable Liner |  |  |  | No | Yes | City of Cottage Grove | City of Cottage Grove |  |  | can be sent as attachment upon request |  | COMPLETE
132 | Pleasure Creek Biochar/IESF | Basin | Blaine | Anoka | MN | 2020 | Outlet of Pond 303 near Pleasure Creek Pkwy E & Cloverleaf Pkwy NE | 45.1216 | -93.2576 | lat/long | Justine Dauphinais | Coon Creek Watershed District | 7637550977 | jdauphinais@cooncreekwd.org |  |  |  |  | Ed Matthiesen (Wenck Associates) | N/A | unknown | 25 lbs/yr TP removal + E coli removal | unknown | unknown | Inline | Yes | 7000 | 140 | 50 | 1.25 | 8750 | Plaisted Companies? | 5 | TBD | TBD | 2 equally sized filter cells, one with biochar source TBD | Underdrain with Impermeable Liner | Creek | Creek | N/A | Yes | Yes | City of Blaine | Coon Creek Watershed District | TP, OP, E. coli | TBD | TBD | TBD | COMPLETE
133 | Summer Place IESF | Basin | Deerwood | Crow Wing | MN | 2015 | Summer Place Drive across from Serpent Lake | 46.4754 | 93.907 | lat/long | Melissa Barrick | Crow Wing SWCD | 218.828.6197 | melissa.barrick@crowwingswcd.org | Commercial | Residential | 30 |  | EOR |  | 35000 |  |  |  | Inline | No | 4900 | 90 | 70 | 1.25 |  | Filings (Plaisted) | 5 | 95 |  |  | Underdrain | Lake | Serpent Lake |  | Yes | Yes | Crow Wing SWCD | Crow Wing SWCD |  |  |  |  | COMPLETE
134 | Hilo Lane Iron Enhanced Sand Filter | Basin | Forest Lake | Washington | MN | 2017 | 7715 Hilo Lane North (south side of Forest Lake middle bay) |  |  |  |  | Comfort Lake Forest Lake Watershed District |  |  | Single Family Residential | Residential | 20 |  | EOR | [5 empty] | Inline | No | 2500 |  |  |  |  | Filings (Connelly) |  |  |  |  | Underdrain with Impermeable Liner | Lake | [10 empty] | COMPLETE
135 | Water Quality and Drainage Improvements | Basin | Forest Lake | Washington | MN | 2012 | 7535 North Shore Trail N (SW corner of intersection of North Shore Trail N and Hayward Avenue N)) |  |  |  |  | Comfort Lake Forest Lake Watershed District |  |  | Single Family Residential | Residential | 5 |  | EOR | [5 empty] | Inline | No | 200 |  |  |  |  | Premix |  |  |  |  | Underdrain | Storm Sewer | [10 empty] | COMPLETE
136 | Cleary Lake Regional Park IESF Bridge | Check Dam | Prior Lake | Scott | MN | 2014 | 18106 Texas Ave. (Cleary Lake Regional Park) |  |  |  |  | Scott County WMO |  |  | Park and Open Space |  | 1 |  | EOR | [5 empty] | Inline | No | 100 | [9 empty] | Underdrain | Lake | [10 empty] | COMPLETE
137 | Penshorn Farm | [10 empty] | Comfort Lake Forest Lake Watershed District
138 | East Auburn Stormwater Enhancement | Pond Bench | Victoria | Carver | MN | 2018 |  | -10427085 | 5599398 | UTM15 | Anna Brown | Minnehaha Creek Watershed District |  | abrown@minnehahacreek.org | Commercial | Golf Course | 352 | 36 | Wenck Associates | Attached to email | 33917 | 40 pounds of phosphorus removal and 4,750 pounds of tss removal |  |  |  |  | 5477 |  |  |  |  | Iron Aggregate ETI CC-1004 Connelly-GPM, Inc. | 5 | 95 |  |  | Underdrain | Wetland/Creek |  | https://drive.google.com/open?id=162Z_S3fv6a12Gs1m-XZ1JoEGiz6yxmA5 | No | Yes | City of Victoria | [5 empty] | COMPLETE
139 | Watertown Downtown Redevelopment | Basin | Watertown | Carver | MN | 2011 | Near intersection of Lewis Ave and Angel Avenue, along Luce Line | 432789 | 4978750 |  | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | Transportation |  |  |  | Bolton & Menk |  |  | 90% TP and TSS Removal |  | <48 hr |  | No | [5 empty] | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20100037
140 | Beckman Coulter Parking Lot Expansion | Basin | Chaska | Carver | MN | 2011 | 332 Hazeltine Drive, Chaska, near parking lot | 453788 | 4965570 |  | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | Parking Lot | Industrial | 0.9 | 100 | WCL Associates |  |  | 90% TP and TSS Removal |  | <48 hr |  | No | [5 empty] | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20100041
141 | Reitz Lake Dry Basin | Basin | Laketown Township | Carver | MN | 2012 | Along Reitz Lake Rd, north of Reitz Lake | 441178 | 4965630 | NAD83 UTM15N | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | Agricultural | Rural | 37.7 |  | unknown |  |  | 90% TP and TSS Removal |  | <48 hr |  | No | [5 empty] | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20120043
142 | Peace Lutheran Church Expansion | Basin | Watertown | Carver | MN | 2017 | Intersection of CSAH 20 and Kristi Lane | 435200 | 4979160 | NAD83 UTM15N | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | Public/Institution | Park and Open Space | 1.1 | 34 | Otto Associates |  | 720 | 90% TP and TSS Removal |  | <48 hr |  | No | [5 empty] | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20160004
143 | Windmill Creek | Basin | Waconia | Carver | MN | 2018 | Behind lots on corner of Gusty Drive | 436196 | 4963970 | NAD83 UTM15N | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | Parking Lot | Park and Open Space | 4.26 | 25 | Otto Associates |  | 7107 | 90% TP and TSS Removal |  | <48 hr |  | No | 8701 |  |  |  |  | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20160019
144 | Pioneer Hollow West | Basin | Chaska | Carver | MN | 2018 | West basin near wetland along Satori Way | 451331 | 4964280 | NAD83 UTM15N | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | Single Family Residential | Park and Open Space | 3.15 | 35.22 | Westwood |  | 10559 | 90% TP and TSS Removal |  | <48 hr |  | No | [5 empty] | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20160029
145 | Pioneer Hollow East | Basin | Chaska | Carver | MN | 2018 | East basin near wetland along Satori Way | 451428 | 4964330 | NAD83 UTM15N | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | Single Family Residential | Park and Open Space | 8.48 | 56.6 | Westwood |  | 19536 | 90% TP and TSS Removal |  | <48 hr |  | No | [5 empty] | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20160029
146 | Jonathan Flats | Chamber | Chaska | Carver | MN | 2018 | Beneath parking at Jonathan Flats, along HWY 41 | 452317 | 4964320 | NAD83 UTM15N | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | Multi-Family Residential | Parking Lot | 2.004 | 88.32 | Westwood |  | 4350 | 75% TP and TSS Removal |  | <48 hr |  | No | [5 empty] | Filings | 5 | 95 |  |  | Underdrain | Lake |  |  | No | Yes | [6 empty] | COMPLETE | WP20160033
148 | NYA Central Elementary School Expansion South |  | Norwood Young America | Carver | MN | 2016 | South of NYA Central Elementary | 426622 | 4958240 | NAD83 UTM15N | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | Public/Institution | Park and Open Space | 0.75 | 51.91 | Anderson Johnson Associates |  | 4379 | 90% TP and TSS Removal |  | <48 hr |  | No | [5 empty] | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20140011
149 | NYA Central Elementary School Expansion East |  | Norwood Young America | Carver | MN | 2016 | E of NYA Central Elementary | 426745 | 4958340 | NAD83 UTM15N | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | Parking Lot | Park and Open Space | 2.37 | 62.22 | Anderson Johnson Associates |  | 3723 | 90% TP and TSS Removal |  | <48 hr |  | No | [5 empty] | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20140011
150 | Waconia Elementary School | Basin | Waconia | Carver | MN | 2016 | SW of elementary school along Airport Rd | 439538 | 4966060 | NAD83 UTM15N | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | Park and Open Space | Parking Lot | 3.062 | 20.84 | Anderson Johnson Associates |  | 1146 | 90% TP and TSS Removal |  | <48 hr |  | No | 6525 |  |  |  |  | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20150032
151 | GRE Substation Expansion | Basin | St. Bonifacius | Carver | MN | 2016 | SW corner of HWY 7 and CSAH 10 | 435263 | 4972650 | NAD83 UTM15N | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us |  |  |  |  | Ulteig |  | 1787 | 90% TP and TSS Removal |  | <48 hr |  | No | [5 empty] | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20160011
152 | Kwik Trip | Basin | Norwood Young America | Carver | MN | 2014 | Near intersection of HWY 212 and CR 33 (Reform St) | 426535 | 4958160 | NAD83 UTM15N | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | Parking Lot | Commercial | 3.213 | 66.1 | Sunde Engineering |  | 11584 | 90% TP and TSS Removal |  | <48 hr |  | No | [5 empty] | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20130006
153 | Good Samaritan Expansion | Basin | Waconia | Carver | MN | 2015 | 333 West Fifth Street in Waconia, west side | 437162 | 4965940 | NAD83 UTM15N | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | Parking Lot | Park and Open Space | 1.354 | 55.05 | Westwood |  | 3625 | 90% TP and TSS Removal |  | <48 hr |  | No | [5 empty] | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20130042
154 | CSAH 61 Bridge and Roadway Improvements | Basin | Chaska | Carver | MN | 2017 | Along HWY 61 in Chaska | 452031 | 4959560 | NAD83 UTM15N | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | Transportation |  | 3.154 |  | Bolton & Menk |  | 1984 | 90% TP and TSS Removal |  | <48 hr |  | No | [5 empty] | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20160059
155 | Lifecore Biomedical Parking Expansion | Basin | Chaska | Carver | MN | 2017 | North of Lifecore Biomedical parking lot, off of Lyman Blvd | 452499 | 4966370 | NAD83 UTM15N | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | Parking Lot |  | 0.376 | 100 | EVS, Inc. |  | 683 | 90% TP and TSS Removal |  | <48 hr |  | No | [5 empty] | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20170025
156 | Hwy 41 Project | Basin | Chaska | Carver | MN | 2018 | Near HWY 41 and Luisa Court, Chaska | 452394 | 4963780 | NAD83 UTM15N | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | Transportation |  | 8.41 | 57.19 | Bolton & Menk |  | 2997 | 90% TP and TSS Removal |  | <48 hr |  | No | [5 empty] | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20170038
157 | Hwy 41 Project | Check Dam | Chaska | Carver | MN | 2018 | Along HWY 41, capturing road slope |  |  |  | Masha Hoy | Carver County Water Management Organization | 952-361-1808 | mhoy@co.carver.mn.us | Transportation |  |  |  | Bolton & Menk |  | 2196 | 90% TP and TSS Removal |  | <48 hr |  | No | [5 empty] | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20170038
158 | Koch Bus Garage | Basin | Waconia | Carver | MN | 2019 | East basin near intersection of 94th Street and CSAH 10 | 435032 | 4964710 | NAD83 UTM15N | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | Parking Lot | Park and Open Space | 2.351 | 44.87 | Westwood |  | 2703 | 90% TP and TSS Removal |  | <48 hr |  | No | [5 empty] | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20180072
159 | Koch Bus Garage | Basin | Waconia | Carver | MN | 2019 | South basin near intersection of 94th Street and CSAH 10 | 434958 | 4964570 | NAD83 UTM15N | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | Parking Lot | Transportation | 4.112 | 65.76 | Westwood |  | 5508 | 90% TP and TSS Removal |  | <48 hr |  | No | [5 empty] | Filings | 5 | 95 |  |  | Underdrain |  |  |  | No | Yes | [6 empty] | COMPLETE | WP20180072
160 | Arctic Lake IESF |  | Prior Lake | Scott | MN | 2016 | [12 empty] | Stantec/SMSC |  |  | 6 lb TP/yr (Winslamm) | [20 empty] | SMSC? | SMSC? | [5 empty] | Data from BWSR eLink, needs confirmation
161 | EVR-P12 IESF |  | Apple Valley | Dakota | MN | 2016 |  | 93.1831 | 44.7519 | [12 empty] | 45 lb TP/yr | [27 empty] | Data from BWSR eLink, needs confirmation
162 | Swartout Lake IESF | Check Dam | Albion Township | Wright | MN | 2014 | [10 empty] | 0.6 |  | Wenck |  |  | 800 lb TP/yr (P8) | [27 empty] | Data from BWSR eLink, needs confirmation "A sand-iron filter designed to treat baseflows of 3 cfs while preserving upstream hydrology, removing approx. 800 lbs. / yr. of phosphorus from the system. "
163 | Oak Street-Broadway IESF | Basin | Marine on St. Croix | Washington | MN | 2018 | Oak St & Broadway |  |  |  |  | Carnelian-Marine-St.Croix WD | [6 empty] | EOR |  |  | 5.0 lb TP/yr and 0.9 ton TSS/yr | [27 empty] | Data from BWSR eLink, needs confirmation
164 | Prairie View Golf Course IESF | Pond Bench | Worthington | Nobles | MN | 2017 | [5 empty] | Okabena-Ocheda WD | [6 empty] | Wenck |  |  | 945 lb TP/yr and 123,000 lb TSS/yr | [27 empty] | Data from BWSR eLink, needs confirmation
165 | AL-P3 IESF |  | Burnsville | Dakota | MN | [11 empty] | 0.1 |  |  |  |  | 2 lb TP/yr (P8) | [27 empty] | Data from BWSR eLink, needs confirmation
166 | AL-P8 IESF |  | Burnsville | Dakota | MN | [11 empty] | 0.1 |  |  |  |  | 6 lb TP/yr (P8) | [27 empty] | Data from BWSR eLink, needs confirmation
167 | LA3-A IESF |  | Burnsville | Dakota | MN | [16 empty] | 12 lb TP/yr (P8) | [27 empty] | Data from BWSR eLink, needs confirmation
168 | CR50 IESF | Pond Bench | Lakeville | Dakota | MN | 2018 | [15 empty] | 25.5 lb TP/yr (MIDS); 1.99 tons TSS/yr (MIDS) | [27 empty] | Data from BWSR eLink, needs confirmation
169 | Birch Lake Hot Spot IESF | Pond Bench | White Bear Lake | Ramsey | MN | 2019 |  |  |  |  | Kristine Jensen | Vadnais Lake Area WMO | [6 empty] | Barr Engineering (Greg Wilson) |  |  | 8.1 lb TP/yr (P8) | [27 empty] | Data from BWSR eLink, needs confirmation
170 | Seminary Pond IESF |  | Lauderdale | Ramsey | MN | 2020 | [5 empty] | Capitol Region WD | [6 empty] | Barr Engineering |  |  | 8.5 lb TP/yr; 1.64 tons TSS/yr | [27 empty] | Data from BWSR eLink, needs confirmation
171 | Jensen Lake IESF | Basin | Eagan | Dakota | MN | 2020 | Lebanon Hills Regional Park |  |  |  | Mike Behan | Dakota County |  |  | Residential | Public/Institution | 77 |  |  |  |  | 8.4 lb TP/yr | [27 empty] | Data from BWSR eLink, needs confirmation
172 | Schulze Lake IESF | Check Dam | Eagan | Dakota | MN | 2020 | Lebanon Hills Regional Park |  |  |  | Mike Behan | Dakota County |  |  | Park and Open Space | Rural | 619 |  |  |  |  | 4 lb TP/yr | [27 empty] | Data from BWSR eLink, needs confirmation
173 | Lakeview Clinic |  | Chaska | Carver | MN | 2013 |  |  |  |  | Masha Hoy | Carver County Water Management Organization | 952-361-1807 | mhoy@co.carver.mn.us | [35 empty] | WP20130005 data from CCWMO GIS, needs confirmation
Note on I2: A GIS/CAD file may be substituted for the coordinates.
Note on J2: A GIS/CAD file may be substituted for the coordinates.
Note on K2: Datum for the x- and y-coordinates provided (e.g. WGS84, NAD27, lat/long, etc). A GIS/CAD file may also be substituted for the datum.
Note on P2: Primary land use within the direct drainage area.
Note on Q2: Secondary land use within the direct drainage area.
Note on U2: Weblink to conceptual design/feasibility study
Note on V2: Storage or treatment volume of the BMP.
Note on W2: Design performance criteria (% removal, targeted pollutant, etc.)
Note on AC2: Longest length, or diameter if circular.
Note on AG2: Description of the iron amendment type or material, source, etc.
Note on AK2: Description of filter media other than sand or iron, please be specific.
Note on AL2: How does water leave the filter media? - Infiltration/no underdrain - Underdrain - Underdrain with impermeable liner - Unknown
Note on AM2: Where does the stormwater go from the filter media? - Infiltration - Creek/stream - Storm sewer/MS4 - Lake/pond - Other - please provide a description in the following field.
Note on AP2: Is the BMP monitored?
Note on AQ2: Does the BMP have access for maintenance activities?
Note on AR2: Who is the primary organization/individual responsible for day-to-day operations and inspections of the BMP?
Note on AS2: Who is the primary organization/individual responsible for BMP monitoring?
Note on AT2: What parameters at monitored and at what interval? TP, TSS, continuous, grab samples, etc.
Note on AU2: Please enter any and all lessons learned regarding the BMP, including design, construction, performance or maintenance.
Note on AV2: Hyperlink to access/view/download data or information on monitoring program.
Note on AW2: If a monitoring report exists, please include the name and hyperlink to the most current version or webpage.
Note on R51: Derek Lash (EOR) reported this to be 100 ac -Andy Erickson
Note on AB51: Derek Lash (EOR) reported this to be 2500. -Andy Erickson
Note on AM51: Derek Lash (EOR) reported this to be Lake. -Andy Erickson

## lookup
TYPE | DESCRIPTION | WATERSHED_LU | INLINE | INFILTRATION | SELECTION | MONITORING_TYPE | DISCHARGE
Basin | Surface sand filter with water storage above the filter media (vertical flow). Sides may be sloped or vertical. | Agricultural | Inline | No Underdrain | Yes | Flow | Infiltration
Chamber | Concrete or other solid wall structure containing filter media and storage volume, typically underground. | Commercial | Offline | Underdrain | No | Samples | Creek
Check Dam | Filter media incorporated into a check dam which is placed perpendicular to the flow direction (horizontal flow through media) within a swale or ditch. | Industrial | Unknown | Underdrain with Impermeable Liner | Unknown | Both | Lake
Pond Bench | Filter media installed in a trench around the perimeter of a stormwater pond, typically within the safety bench of the pond below the normal water level. | Multi-Family Residential |  | Unknown |  |  | Storm Sewer
Trench | Filter media installed in a trench that is stand-alone or incorporated into a bioretention practice, typically with an underdrain. | Park and Open Space |  |  |  |  | Other
Weir | Filter media incorporated into a permeable weir wall, such as slots between composit planks or other permeable material. | Parking Lot
Public/Institution
Residential
Rural
Single Family Residential
Transportation