Specific BMPs

- Create a new file and enter a zip code, say “no’ for Construction SW permit, enter 1 acre of impervious, and 1 acre of turf B soil

- As we cover each of the following BMPs, drag and drop the BMP onto the screen and open it. Input 1 acre of impervious and 1 acre turf on B soil. Once we are done with the BMP, delete it from the Schematic tab.

- Bioretention with underdrain – base scenario

  - No to underdrain and liner

  - 1000 ft2 for all the areas

  - Overflow = 1 ft

  - Media = 2 ft

  - 0.11 and 0.25 for the two porosity terms

  - No to tree

  - Media mix A

  - No to P content of less than 30ppm

  - No to amendment

  - B soil (0.45 in/hr)

  - 48 hr drawdown

| Scenario | Volume retained (ac-ft) | PP retained (lbs) | DP retained (lbs) |
| --- | --- | --- | --- |
| Base scenario |  |  |  |
| Raise underdrain 0.8 feet |  |  |  |
| Add a tree |  |  |  |
| Mix C |  |  |  |
| Yes to amendment |  |  |  |

- Permeable pavement

  - Surface area must be at least 8712 ft2; can’t exceed 43560 ft2

  - Enter same area for bottom

  - Enter 1.8 depth

  - No to compaction

  - B soil (0.45 in/hr)

  - Drawdown = 48

  - Change compaction to yes

  - Try depth of 0 (underdrain at bottom)

- Rainwater harvest

  - 25,000 gallon tank = 3342 ft3. A 5000 ft2 pond with 3 feet of drawdown for irrigation stores 150,000 ft3. Ponds, if space allows, provide almost unlimited water for irrigation.

  - Base scenario

    - Storage volume = 5000 ft3

    - Application area = 1 acre

    - No to defined weekly rate

    - B soil

    - Turf

    - May-September

    - Yes to offline

    - No to on-site

| Scenario | Volume retained (ac-ft) |
| --- | --- |
| Base scenario |  |
| 2 acre application area |  |
| Yes – 1 in/week application |  |
| Trees instead of turf |  |
| April-October |  |
| No to offline |  |
| 100 ft3 for non-irrigation |  |

- Tree trench with underdrain – base scenario

  - No to underdrain and liner

  - 1000 ft2 for all the areas

  - 3 for media depth

  - 0.11 and 0.25 for porosities

  - Tree type – deciduous

  - Tree size – large

  - Number of trees – 2

  - Mix A

  - No to P content

  - No to amendment

  - B soil (0.45 in/hr)

  - 48 hr drawdown

| Scenario | Volume retained (ac-ft) | PP retained (lbs) | DP retained (lbs) |
| --- | --- | --- | --- |
| Base scenario |  |  |  |
| Coniferous tree |  |  |  |
| Go to 3 trees (ignore warning) |  |  |  |
| Mix D |  |  |  |
| Yes to amendment |  |  |  |

- Green roof

  - Media depth – 3 inches

  - Media surface area – 22,000 ft2

  - Increase media depth to 4 inches

  - Increase surface area to 30,000 ft2

- Disconnection BMP

  - Redirected impervious – 43560 ft2

  - Effective pervious – 43560 ft2

  - B soil

  - Modify the values and observe changes in volume retention

- Swales – although side slope and swale main channel are separate icons, treat them as a single system. Therefore can only have impervious acreage going to one or the other (otherwise you are double counting).

  - Base scenario – side slope

    - 1 acre of impervious and 1 acre of pervious turf on B soil

    - Route to swale main channel

    - Side slope 5:1

    - Flow path – 10 feet

    - Channel length – 300 feet

    - B soil (0.45 in/hr)

    - Mowed turf

  - Base scenario – swale main channel

    - No acreages

    - 300 foot channel, 5 feet wide, 2% slope

    - B soil (0.45 in/hr)

    - Mowed turf

| Scenario | Volume retained (ac-ft) |
| --- | --- |
| Base scenario | 0.329 |
| 600 foot length | 0.6525 |
| Native grass | 0.6833 |
| Impermeable check dam (5 feet wide, 1 foot deep, 48 hour drawdown) | 1.0249 |
| Add another check dam | 1.2839 |
| Increase check dam depth to 1.8 feet | 1.9988 |

- Underground infiltration

  - On BMP parameters tab, click on the link to calculations, then click on link to Excel file near the top