## Slide 1
Pretreatment practices
Selection implementation maintenance
ST. CLOUD GREATER
Noah Czech > Stormwater Compliance Specialist
noah.czech@ci.stcloud.mn.us

## Slide 2: Pre-Treatment Considerations
What is the pre-treatment protecting
Cost-benefit considerations
Watershed characteristics
Design for maintenance
Set pre-treatment goals
Expected pollutants
Drainage Area
Observations
SW Manual
Practices used to reduce, eliminate, or alter pollutants in stormwater, primarily sediment, before they are discharged into structural stormwater BMPs. Pretreatment practices include settling devices, screens, and pretreatment vegetated filter strips.

## Slide 3: 212 Surface Infiltration Systems

## Slide 4: 1 Underground Filtration System
St. Cloud Public Library

## Slide 5: 5 Underground Detention Systems

## Slide 6: 180 Underground Infiltration Systems

## Slide 7
Catch basin
Pre-Treatment
Underground Infiltration
What is the pre-treatment protecting
Cost-benefit considerations
Watershed characteristics
Design for maintenance
Set pre-treatment goals
Expected pollutants
Drainage Area
Observations
SW Manual
Catch basin

## Slide 9: SUMPS: DESIGN FOR WATER QUALITY

## Slide 10: 285 Sumps/Hydrodynamic Separators

## Slide 11
Design for Maintenance
-Shop drawing review
-Access opening
-Equipment
-Efficiency

## Slide 13
Maintenance Row

## Slide 15
Maintenance Row

## Slide 16
Sump