# Outfall Id:  OF08-07		Outfall Inspection  / Inventory Data Sheet

# Inventory Data

Reference Point Number:      	Location Method: gps  	Year Built:

Location (North):  205505.164	(East)   558210.428		(Elevation)   946.571

Location Precision (horiz) 0.3   (Vertical)   0.3    (Elevation Desc)  invert

Address:  1411 Hwy 96

Pipe Size:  15”        Width:	      Shape:  Arch     	Material: Concrete

Inspection Data

Inspection Date:   8/6/13       Inspected By: JMH   Precip 0.0   Temp

General Condition (Excellent, Good, Fair, Poor):   good

Damage:     50% clogged

Repairs Recommended: clean mud and sand

Notes:  standing water

Illicit Discharge Indications

Volume: none 	Odor: none 	Color: none

Photo: