## Sheet1
Source | Stormwater Wetland | [5 empty] | Sand Filter |  |  |  |  | Permeable Pavement |  |  |  |  | Swale Main Channel |  |  |  |  | Swale w/ Underdrain |  |  |  | Source
| Notes | TSS | Notes | TP | Notes | Dissolved P | Notes | TSS | Notes | TP | Dissolved P | Notes | TSS | Notes | TP | Dissolved P | Notes | TSS | Notes | TP | Dissolved P | Notes | TSS | TP | Dissolved P
MN Stormwater Manual |  | 73% |  | 38% |  | 0% |  | 85% |  | 50% | 0% |  | 74% |  | 45% | 0% |  | 68% |  | Table Calculation | Table Calculation |  | 68% | Table Calculation | Table Calculation
MN MIDS Calculator |  | 68% |  | 30% |  | 0% |  | 85% |  | 47% | Calc. based on design |  | 74% |  | 45% | 0% |  | 68% |  | 40% | 0% |  | 68% | 20% | 0%
Virginia (Chesapeake Bay Established Efficiency Table) |  | 60% |  | 45% |  | -- |  | 80% |  | 60% | -- | TSS is an average of all design variations listed; TSS Range = 55-85%; | 70% | TP is an average of all design variations listed; Range = 20-80% | 50% | -- | Vegetated Open Swales C/D soil, no underdrain | 50% | Vegetated Open Swales C/D soil, no underdrain | 10% | -- |  | -- | -- | -- | http://www.deq.virginia.gov/Portals/0/DEQ/Water/Guidance/152005.pdf
[17 empty] | Vegetated Open Swales C/D soil, no underdrain | 70% | Vegetated Open Swales C/D soil, no underdrain | 45%
Virginia (BMP Clearinghouse) |  | -- | Wetland Design Level 1 | 50% |  | -- |  | -- | Filtering Practices Design Level 1 | 60% | -- |  | -- | Permeable Pavement Level 1 Design | 59% | -- |  | -- |  | -- | -- | Dry swale level 1 design | -- | 52% | -- | http://www.vwrrc.vt.edu/swc/NonProprietaryBMPs.html
|  |  | Wetland Design Level 2 | 75% |  |  |  |  | Filtering Practices Design Level 2 | 65% |  |  |  | Permeable Pavement Level 2 Design | 81% | [6 empty] | Dry swale level 2 design |  | 76%
North Carolina (DEQ) | TSS Removal is the average of 9 case studies; Range -117%-90% | 24% |  | 40% |  | -- | TSS Removal is the average of 5 case studies; Range 58-95% | 72% |  | 45% | -- | TSS removal is the average of 3 case studies; Range -512-98% | -130% | Permeable Pavement (infiltration) | 84% | -- | TSS Removal is the average of 4 case studies; Range 45-71% | 58% |  | 10% | -- |  | -- | -- | -- | https://ncdenr.s3.amazonaws.com/s3fs-public/Energy%20Mineral%20and%20Land%20Resources/Stormwater/State%20Stormwater%20Permits/SSW%20Forms/SSW-SCM-Credit-Doc-20170511.pdf
[14 empty] | Permeable Pavement (filtration) | 30%
International Stormwater BMP Database | Wetland Basin; Calculated from median influent (24.5 mg/L) and median effluent (9.4 mg/L) Average of 19 studies | 62% | Calculated from median influent (0.130 mg/L) and median effluent (0.093 mg/L); Average of 17 studies | 28% | Calculated from median influent (0.130 mg/L) and median effluent (0.093 mg/L); Average of 17 studies | 42% | Media Filter; Calculated from median influent (50.9 mg/L) and median effluent (8.4 mg/L); Average of 23 studies | 83% | Calculated from median influent (0.15 mg/L) and median effluent (0.089 mg/L); Average of 22 studies | 41% | 6% | Porous Pavement; Calculated from median influent (90.3 mg/L) and median effluent (24.9 mg/L); Average of 8 studies | 72% | Calculated from median influent (0.176 mg/L) and median effluent (0.100 mg/L); Average of 7 studies | 43% | -6% |  | -- |  | -- | -- | Biofilter-Grass Swale; Calculated from median influent (27.7 mg/L) and median effluent (21.6 mg/L); Average of 23 studies | 22% | -55% | -233% | http://www.bmpdatabase.org/Docs/2014%20Water%20Quality%20Analysis%20Addendum/BMP%20Database%20Categorical_StatisticalSummaryReport_December2014.pdf
| Wetland Channel**; Calculated from median influent (18.9 mg/L) and median effluent (14.4 mg/L); Average of 8 studies | 24% | Calculated from median influent (0.156 mg/L) and median effluent (0.144 mg/L); Average of 8 studies | 8% | Calculated from median influent (0.130 mg/L) and median effluent (0.093 mg/L); Average of 17 studies | -13%
| Wetland Basin/Retention Pond*; Calculated from median influent (37.9 mg/L) and median effluent (10.9 mg/L); Average of 75 studies | 71% | Calculated from median influent (0.168 mg/L) and median effluent (0.091 mg/L); Average of 71 studies | 46% | Calculated from median influent (0.130 mg/L) and median effluent (0.093 mg/L); Average of 17 studies | 44% | Cheseapeake Bay and Related Areas (Media Filter); Calculated from median influent (18.9 mg/L) and median effluent (9.7 mg/L); Average of 4 studies | 49% | Calculated from median influent (0.16 mg/L) and median effluent (0.11 mg/L); Average of 4 studies | 31% | -- | Chesapeake Bay and Related Areas (Porous Pavement); Calculated from median influent (13.1 mg/L) and median effluent (9.7 mg/L); Average of 5 studies | 29% | Calculated from median influent (0.09 mg/L) and median effluent (0.09 mg/L); Average of 5 studies | 0% | --
| Chesapeake Bay and Related Areas (Wetland Basin); Calculated from median influent (43.2 mg/L) and median effluent (15.2 mg/L); Average of 7 studies | 65% | Calculated from median influent (0.14 mg/L) and median effluent (0.09 mg/L); Average of 4 studies | 36% | Calculated from median influent (0.130 mg/L) and median effluent (0.093 mg/L); Average of 17 studies | 50% | [19 empty] | http://www.bmpdatabase.org/Docs/BMP%20Database%20Chesapeake%20Bay%20Paper%20May%202012_Final_wAttachments.pdf
Center for Watershed Protection | Average of 40 studies | 72% | Average of 40 studies | 48% | Average of 40 studies | 25% | Filtering; Average of 18 studies (11 sand filters, 7 organic filters) | 86% | Filtering; Average of 18 studies (11 sand filters, 7 organic filters) | 59% | 3% |  | -- |  | -- | -- | Open Channels; Average of 17 studies (12 dry swale, 3 grass channel, 2 wet swale) | 81% | Open Channels; Average of 17 studies (12 dry swale, 3 grass channel, 2 wet swale) | 24% | -38% |  | -- | -- | -- | http://owl.cwp.org/mdocs-posts/fraley-mcneall-_national_pollutant_removal_perf_v3/
Overall Averages | Wetland TSS | 57.67% | Wetland TP | 40.36% | Wetland DP | 21.14% | Sand Filter TSS | 77.14% | Sand Filter TP | 50.89% | 3% | Permeable Pavement TSS | 31.5% | Permeable Pavement P | 48.56% | -2% | Swale Main Channel TSS | 65.83% | Swale Main Channel P | 25.8% | -19% | Swale w/ Underdrain | 52.67% | 23.25% | -116.5%
*Wetland Basin/Retention Pond = "a combined category including both retention ponds and wetland basins"