## Models &Tool by model type
Summary of stormwater models and tools by model type.
Model or tool | Rainfall-runoff calculation tool | Hydrologic model | Hydraulic model | Combined hydrologic and hydraulic | Water quality model | BMP calculator
TR-55 | X
Rational method (equation) | X
HEC-1 |  | X
HEC-HMS |  | X
Win TR-20 |  | X
Win TR-55 |  | X
HydroCAD |  | X
HEC-RAS |  |  | X |  | X
HEC-2 |  |  | X
WSPRO |  |  | X
CulvertMaster |  |  | X
Flow Master |  |  | X
PondPack |  |  |  | X
EPA SWMM |  |  |  | X | X
PC SWMM |  |  |  | X | X
InfoSWMM/InfoWorks ICM |  |  |  | X | X
XPSWMM |  |  |  | X | X
MIKE URBAN (SWMM or MOUSE) |  |  |  | X | X
ICPR |  |  |  | X
InfoWorks ICM |  |  |  | X | X
Mike+ |  |  |  | X
CivilStorm*** |  |  |  | X
MODRET |  |  |  | X
WINSLAMM |  |  |  |  | X
P8 |  |  |  |  | X
BASINS |  |  |  |  | X
QUAL2E/QUAL2K |  |  |  |  | X
WinHSPF |  |  |  | X | X
LSPC |  |  |  | X | X
SWAT |  |  |  | X | X
PLOAD |  |  |  |  | X
PondNet |  |  |  |  | X
WASP |  |  |  |  | X
WMM |  |  |  |  | X
WARMF |  |  |  | X | X
SHSAM |  |  |  |  | X
SUSTAIN |  | X |  |  | X
Virginia Runoff Reduction Method | X
MapShed |  |  |  |  | X
MIDS calculator | [5 empty] | X
EPA National Stormwater Calculator |  | X
SELECT | [5 empty] | X
Center for Neighborhood Technology Green Values National Stormwater Management Calculator | [5 empty] | X
Metropolitan Council Stormwater Reuse Guide Excel Spreadsheet | [5 empty] | X
MCWD/MWMO Stormwater Reuse Calculator | [5 empty] | X
North Carolina State University Rainwater Harvesting Model | [5 empty] | X
i-Tree Streets | [5 empty] | X
i-Tree Hydro | [5 empty] | X
RECARGA | [5 empty] | X
SELDM | [5 empty] | X
MIDUSS |  |  |  | X
QHM |  |  |  |  | X
WWHM | [5 empty] | X
HY8 |  |  | X
Hydraulic Toolbox |  |  | X
SMS |  |  |  |  | X
GWLF-E |  |  |  |  | X
EPD-RIV1 |  |  |  |  | X
CE-QUAL-RIV2 |  |  |  |  | X
CE-QUAL-W2 |  |  |  |  | X
Autodesk Civil 3D |  | X | X | X
As printed in the Minnesota Stormwater Manual.

## Models-general information
Summary of general information for stormwater modeling programs and tools
Model or tool | Input complexity | Simulation type(s) | Public domain | Unsteady flow | Type of water quality model | Built-in BMPs | TP | TSS | Volume | Comment on use
TR-55 | Low | Event | Yes |  | Rainfall-Runoff Calculation Tools | None | No | No |  | Replaced by WinTR-55
Rational method (equation) | Low | Event | Yes |  | Rainfall-Runoff Calculation Tools | None | No | No
HEC-1 | Medium |  | Yes |  | Hydrologic Models | None |  |  |  | Replaced by HEC-HMS
HEC-HMS | Medium | Event or continuous | Yes |  | Hydrologic Models | None | No | No
Win TR-55 (or TR-20 DOS version) | Medium | Event | Yes |  | Hydrologic Models | None | No | No |  | Propose to delete the TR-20 DOS version from the list
Win TR-55 | Low | Event | Yes |  | Hydrologic Models | None | No | No
HydroCAD | Medium | Event | No |  | Hydrologic Models | Detention ponds & storage chambers | Yes | Yes | No | HydroCAD can model ponds/storage and assess pollutant loadings, but not removal by BMPs
HEC-RAS | Medium | Event or continuous | Yes | Yes | Receiving water, Hydraulic Models | None | Yes | No
HEC-2 | Medium |  | Yes | No | Hydraulic Models | None | No | No |  | Replaced by HEC-RAS
WSPRO | Medium |  | Yes | No | Hydraulic Models | None | No | No |  | This is an old model and likely no longer used
CulvertMaster | Low | Event | No | No | Hydraulic Models | None | No | No
Flow Master | Low | Event | No | No | Hydraulic Models | None | No | No
PondPack | Medium | Event | No | No |  | Detention ponds. PondPack can calculate first-flush volume and aid in designing for minimum drain time, but does not model pollutants | No | No | No
EPA SWMM | Medium/High | Event or continuous | Yes | Yes | Loading, Receiving Water (limited to first order decay) | Low impact development BMPs including rain barrels, permeable pavers, vegetative swales, bioretention cells, infiltration trenches; traditional BMPs including detention basins, infiltration practices, wetlands, ponds. | Yes | Yes | Yes
PC SWMM | Medium/High | Event or continuous | No | Yes | Loading, Receiving Water (limited to first order decay) | Low impact development BMPs including rain barrels, permeable pavers, vegetative swales, bioretention cells, infiltration trenches; traditional BMPs including detention basins, infiltration practices, wetlands, ponds. | Yes | Yes | Yes
Info SWMM | Medium/High | Event or continuous | No | Yes | Loading, Receiving Water (limited to first order decay) | Low impact development BMPs including rain barrels, permeable pavers, vegetative swales, bioretention cells, infiltration trenches; traditional BMPs including detention basins, infiltration practices, wetlands, ponds. | Yes | Yes | Yes
XPSWMM | Medium/High | Event or continuous | No | Yes | Loading, Receiving Water (limited to first order decay) | Rain gardens, green roofs, rain barrels, street sweeping, infiltration trenches, dry detention basins, wet ponds, swales, porous pavement, filter strips | Yes | Yes | Yes
MIKE URBAN (SWMM or MOUSE) | Medium/High | Event or continuous | No | Yes | Loading, Receiving Water (limited to first order decay) | Low impact development BMPs including rain barrels, permeable pavers, vegetative swales, bioretention cells, infiltration trenches; traditional BMPs including detention basins, infiltration practices, wetlands, ponds. | Yes | Yes | Yes
ICPR | Medium | Event | No |  |  | Ponds | No | No | No | Not believed to be a widely used model for stormwater/pollutant modeling
InfoWorks ICM | High | Event or continuous | No |  |  |  | Yes | Yes | Yes
Mike 11 | [9 empty] | Receiving water model
CivilStorm | Medium | Event | No | Yes |  | Ponds, low impact development controls | No | No | Yes
MODRET | [9 empty] | Not believed to be a widely used model for stormwater/pollutant modeling
WINSLAMM | Medium | Event/continuous for BMPs | No |  | BMP, Loading | Grass swales, wet detention ponds, porous pavement, filter strips, cisterns and rain barrels, hydrodynamic settling devices, rain gardens/biofilters and street sweeping | Yes | Yes | Yes
P8 | Medium | Event or continuous | Yes |  | BMP, Loading | Detention ponds, infiltration basins, swales or buffer strips, and generalized devices | Yes | Yes | Yes
BASINS |  |  | Yes | [6 empty] | BASINS is a user interface to set up models in WinHSPF, SWAT, SWMM, PLOAD, and GLWF-E. These models are listed here separately.
QUAL2E/QUAL2K | Medium |  | Yes |  | Receiving water | None | Yes | Yes |  | Receiving water model
WinHSPF | High | Event or continuous | Yes | Yes | Loading, receiving water | Nutrient management, Contouring, Terracing, Ponds, Wetlands; USEPA BMP Web Toolkit available to assist with implementing structural BMPs such as detention basins, or infiltration BMPs that represent source control facilities, which capture runoff from small impervious areas (e.g., parking lots or rooftops). | Yes | Yes | Yes
LSPC | High | Event or continuous | Yes | Yes | Loading, receiving water | Though developed for HSPF, the USEPA BMP Web Toolkit can be used with LSPC to model structural BMPs such as detention basins, or infiltration BMPs that represent source control facilities, which capture runoff from small impervious areas (e.g., parking lots or rooftops). | Yes | Yes | Yes
SWAT | Medium/High | Event or continuous | Yes | Yes | Loading | Model offers many agricultural BMPs and practices, but limited urban BMPs at this time. BMPs related to urban practices include detention basins, infiltration practices, vegetative filter strips, street sweeping, wetlands. | Yes | Yes | Yes | Limited use in urban areas
PLOAD | Low | Event | Yes |  | Loading | User-defined practices with user-specified removal percentages | Yes | Yes | No
PondNet | Low | Event | Yes |  | Loading | Wet detention ponds | Yes | No | Yes
WASP | High | Event or continuous | Yes |  | Receiving water | None | Yes | Yes | No | Receiving water model
WMM | [9 empty] | Not believed to be a widely used model for stormwater/pollutant modeling
WARMF |  | Event or continuous |  | Yes | Loading, receiving water
SHSAM | Low | Event | No |  | BMP | Several flow-through structures including standard sumps, and proprietary systems such as CDS, Stormceptors, and Vortechs systems | No | Yes | No
SUSTAIN | Medium | Event or continuous | Yes |  |  | Bioretention, cisterns, constructed wetlands, dry/wet ponds, swales, green roofs, infiltration basins, infiltration trenches, porous pavement, rain barrels, sand filters, filter strips | Yes | Yes | Yes
Virginia Runoff Reduction Method
MapShed | Medium | Event | Yes |  | Loading, BMP | Detention basins, vegetated buffer strips, stabilized streambanks, infiltration/bioretention, constructed wetlands, street sweeping | Yes | Yes | Yes | Region-specific input data not available for Minnesota but user can create this data for any region.
MIDS calculator | Low | Event | Yes |  |  | Green roof, bioretention basin (with and without underdrain), infiltration basin, permeable pavement, infiltration trench/tree box, dry swale, wet swale, sand filter, wetland, stormwater pond, user defined | Yes | Yes | Yes
EPA National Stormwater Calculator | Low | Event or continuous | Yes |  |  | Disconnection, rain harvesting, rain gardens, green roofs, street planters, infiltration basins, porous pavement | No | No | Yes
SELECT | Low | Event | Yes |  |  | Extended detention, bioretention, wetland basin, swale, permeable pavement, filter, and user-defined | Yes | Yes | Yes
Center for Neighborhood Technology Green Values National Stormwater Management Calculator | Low | Event | Yes |  |  | Green roof, planter boxes, rain gardens, cisterns/rain barrels, native vegetation, filter strips, amended soil, swales, trees, permeable pavement | No | No | Yes
Metropolitan Council Stormwater Reuse Guide Excel Spreadsheet | Low | Event | Yes |  |  | Computes storage volume for stormwater reuse systems | No | No | Yes | Uses 30-year precipitation data specific to Twin Cites region of Minnesota
MCWD/MWMO Stormwater Reuse Calculator | Low | Event | Yes |  |  | Computes storage volume for stormwater reuse systems | No | No | Yes
i-Tree Streets | Low | Event | Yes |  |  | Trees | No | No | Yes
i-Tree Hydro | Low | Event | Yes |  |  | Trees, watershed scale | Yes | Yes | Yes | NOTE: Beta version
RECARGA | Low | Event or continuous | Yes |  |  | Bioretention/rain garden and infiltration facilities | No | No | Yes
SELDM | Low |  | Yes |  | Stochastic |  |  | Yes |  | Not believed to be a widely used model for stormwater/pollutant modeling
MIDUSS | [9 empty] | Not believed to be a widely used model for stormwater or pollutant modeling
North Carolina State University Rainwater Harvesting Model
QHM
WWHM
HY8
Hydraulic Toolbox
SMS
EPD-RIV1
GWLF-E | [9 empty] | Replaced by MapShed
CE-QUAL-RIV2
CE-QUAL-W2 | [9 empty] | Receiving water model
As printed in the Minnesota Stormwater Manual.

## Model assessment comparison
Comparison of assessment capabilities for select stormwater models and calculators
Model Name | BMP Category | [5 empty] | Assess TP removal? | Assess TSS removal? | Assess volume reduction? | Comments
| Constructed basin BMPs | Filter BMPs | Infiltrator BMPs | Swale or strip BMPs | Reuse | MTDs1
Center for Neighborhood Technology Green Values National Stormwater Management Calculator | X | X | X |  | X |  | No | No | Yes | Does not compute volume reduction for some BMPs, including cisterns and tree trenches.
CivilStorm | [6 empty] | Yes | Yes | Yes | CivilStorm has an engineering library with many different types of BMPs to choose from. This list changes as new information becomes available.
EPA National Stormwater Calculator | X |  | X |  | X |  | No | No | Yes | Primary purpose is to assess reductions in stormwater volume.
EPA SWMM | X |  | X |  | X |  | Yes | Yes | Yes | User defines parameter that can be used to simulate generalized constituents.
HydroCAD | X |  | X | X |  |  | No | No | Yes | Will assess hydraulics, volumes, and pollutant loading, but not pollutant reduction.
infoSWMM | X |  | X |  | X |  | Yes | Yes | Yes | User defines parameter that can be used to simulate generalized constituents.
infoWorks ICM | X | X | X | X |  |  | Yes | Yes | Yes
i-Tree-Hydro |  |  | X |  |  |  | No | No | Yes | Includes simple calculator for rain gardens.
i-Tree-Streets | [6 empty] | No | No | Yes | Computes volume reduction for trees, only.
LSPC | X |  | X | X |  |  | Yes | Yes | Yes | Though developed for HSPF, the USEPA BMP Web Toolkit can be used with LSPC to model structural BMPs such as detention basins, or infiltration BMPs that represent source control facilities, which capture runoff from small impervious areas (e.g., parking lots or rooftops).
MapShed | X | X | X | X |  |  | Yes | Yes | Yes | Region-specific input data not available for Minnesota but user can create this data for any region.
MCWD/MWMO Stormwater Reuse Calculator |  |  |  |  | X |  | Yes | No | Yes | Computes storage volume for stormwater reuse systems
Metropolitan Council Stormwater Reuse Guide Excel Spreadsheet |  |  |  |  | X |  | No | No | Yes | Computes storage volume for stormwater reuse systems. Uses 30-year precipitation data specific to Twin Cites region of Minnesota.
MIDS Calculator | X | X | X | X | X | X | Yes | Yes | Yes | Includes user-defined feature that can be used for manufactured devices and other BMPs.
MIKE URBAN (SWMM or MOUSE) | X |  | X |  | X |  | Yes | Yes | Yes | User defines parameter that can be used to simulate generalized constituents.
P8 | X |  | X | X |  | X | Yes | Yes | Yes
PCSWMM | X |  | X |  | X |  | Yes | Yes | Yes | User defines parameter that can be used to simulate generalized constituents.
PLOAD | X | X | X | X |  | X | Yes | Yes | No | User-defined practices with user-specified removal percentages.
PondNet | X | [5 empty] | Yes | No | Yes | Flow and phosphorus routing in pond networks.
PondPack | X |  | [ |  |  |  | No | No | Yes | PondPack can calculate first-flush volume, but does not model pollutants. It can be used to calculate pond infiltration.
RECARGA |  |  | X |  |  |  | No | No | Yes
SHSAM | [5 empty] | X | No | Yes | No | Several flow-through structures including standard sumps, and proprietary systems such as CDS, Stormceptors, and Vortechs systems
SUSTAIN | X | X | X | X | X |  | Yes | Yes | Yes | Categorizes BMPs into Point BMPs, Linear BMPs, and Area BMPs
SWAT | X | X | X |  |  |  | Yes | Yes | Yes | Model offers many agricultural BMPs and practices, but limited urban BMPs at this time.
Virginia Runoff Reduction Method | X | X | X | X | X | X | Yes | No | Yes | Users input Event Mean Concentration (EMC) pollutant removal percentages for manufactured devices.
WARMF | X | X |  |  |  |  | Yes | Yes | Yes | Includes agriculture BMP assessment tools. Compatible with USEPA Basins
WinHSPF | X |  | X | X |  |  | Yes | Yes | Yes | USEPA BMP Web Toolkit available to assist with implementing structural BMPs such as detention basins, or infiltration BMPs that represent source control facilities, which capture runoff from small impervious areas (e.g., parking lots or rooftops).
WinSLAMM | X | X | X | X |  |  | Yes | Yes | Yes
XPSWMM | X |  | X |  | X |  | Yes | Yes | Yes | User defines parameter that can be used to simulate generalized constituents.
As printed in the Minnesota Stormwater Manual.