Facility Name:

Facility Address:

Weather:

Date:				  Time:

Inspectors:

Type of BMP:	     Wet Pond	                  Dry Pond	                   Pond/Wetland                        Bioretention

Scoring Breakdown:

N/A 	=	Not Applicable		1 = Monitor (potential for future problems exists)	*   Use open space in each

N/I	= Not Investigated	2 = Routine Maintenance Required			     section to further explain

0	= Not a Problem		3 = Immediate Repair Necessary			     scoring as needed

1. Outfall Channel(s) from Pond			          Rating		 	Comments

Woody growth within 5’ of outfall	N/A	N/I	0	1	2	3

Outfall channel functioning	N/A	N/I	0	1	2	3

Manholes, Frames, and Covers	N/A	N/I	0	1	2	3

Released water undercutting outlet	N/A	N/I	0	1	2	3

Erosion	N/A	N/I	0	1	2	3

Displaced rip rap	N/A	N/I	0	1	2	3

Excessive sediment deposits	N/A	N/I	0	1	2	3

Vegetation	N/A	N/I	0	1	2	3

Other:	N/A	N/I	0	1	2	3

2. Embankments and Emergency Spillway	                  Rating		 	Comments

Cracking, bulging, sloughing	N/A	N/I	0	1	2	3

Erosion and/or loss of material	N/A	N/I	0	1	2	3

Animal burrows	N/A	N/I	0	1	2	3

Soft spots	N/A	N/I	0	1	2	3

Vegetation	N/A	N/I	0	1	2	3

Obstructions/debris	N/A	N/I	0	1	2	3

Woody growth or unauthorized plantings	N/A	N/I	0	1	2	3

Other:	N/A	N/I	0	1	2	3

3. Weir/Low Flow Trash Rack				Rating			Comments

Structurally sound	N/A	N/I	0	1	2	3

Debris removal necessary	N/A	N/I	0	1	2	3

Corrosion	N/A	N/I	0	1	2	3

4. Principal Spillway & Riser				Rating			Comments

# of outlets:	   Size:	        in.		RCP	CMP	PVC	STEEL     or     MASONRY    (circle one)

Riser Size:	         in.	CONC	CMP	or   MASONRY   (circle one)

Concrete spalling			N/A	N/I	0	1	2	3

Joint failure			N/A	N/I	0	1	2	3

Leaking			N/A	N/I	0	1	2	3

Corrosion			N/A	N/I	0	1	2	3

Misalignment or split seams / joints	N/A	N/I	0	1	2	3

Manhole access and steps available 	N/A	N/I	0	1	2	3

Sediment accumulation within riser	N/A	N/I	0	1	2	3

Other:			N/A	N/I	0	1	2	3

5. Permanent Pool (wet ponds)			Rating			Comments

Visible pollution		N/A	N/I	0	1	2	3

Shoreline and/or side slope erosion 	N/A	N/I	0	1	2	3

Undesirable vegetative growth 	N/A	N/I	0	1	2	3

Sediment/debris accumulation		N/A	N/I	0	1	2	3

Other:			N/A	N/I	0	1	2	3

6. Dry Pond						Rating			Comments

Vegetation adequate		N/A	N/I	0	1	2	3

Undesirable woody/vegetative growth	N/A	N/I	0	1	2	3

Low flow channels obstructions	N/A	N/I	0	1	2	3

Standing water or wet spots		N/A	N/I	0	1	2	3

Sediment/debris accumulation		N/A	N/I	0	1	2	3

Other:			N/A	N/I	0	1	2	3

7. Inflow Points						Rating			Comments

Number of inflow points:	  Sizes:

Endwalls/headwalls			N/A	N/I	0	1	2	3

Discharge displacing rip rap		N/A	N/I	0	1	2	3

Erosion			N/A	N/I	0	1	2	3

Sediment/debris accumulation		N/A	N/I	0	1	2	3

Forebay sediment/debris accumulation	N/A	N/I	0	1	2	3

Other:			N/A	N/I	0	1	2	3

8. Pond Buffer/Easements					Rating			Comments

Predominant vegetation types:	Forested	Shrubs	   Meadow	  Turf Grass     Other:	 (circle one)

Encroachment by structures		N/A	N/I	0	1	2	3

Clearing of vegetation		N/A	N/I	0	1	2	3

Planting needed		N/A	N/I	0	1	2	3

Encumbrances		N/A	N/I	0	1	2	3

Access routes			N/A	N/I	0	1	2	3

Public hazards		N/A	N/I	0	1	2	3

Complaints from residents		N/A	N/I	0	1	2	3

Fence condition		N/A	N/I	0	1	2	3

Other:			N/A	N/I	0	1	2	3

Overall Condition of Facility

Total number of concerns receiving a:	(1)		 - Need Monitoring

(2)		 - Routine Repair

(3)		 - Immediate Repair Needed

Evidence of Illicit Discharges or Connections?		No		Yes

Describe evidence of discharge/connection, i.e. color, sheen, odor, solids, etc:

Inspectors Summary

Pictures:	       Time

1.

2.

3.

4.

5.

6.

7.

8.

9.

10.

11.

12.

13.			
14.

15.